# *ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

**Contract title: Supply of Medical Equipment and Drugs p 1 /…**

**Publication reference: 017/CUAMM/ETH/2023**

**Columns 1-2 should be completed by the contracting authority**

**Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offeredspecifications.

Lot 1 Medical Equipment’s

| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered** | **4.**  **Notes, remarks,  ref to documentation** | **5.**  **Evaluation committee’s notes** |
| --- | --- | --- | --- | --- |
|  | **Littmann double side stethoscope,** Classic III™ Littman double sided stethoscope with diaphragm (small diaphragm 3.3cm and large diaphragm 4.3cm)    Quantity:2  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **BP apparathous,** Standard adult size nylon android sphygmomanometer; latex free nylon, cuff index and ranging markings, artery indicator mark, owner ID label, gauge holder, standard inflation bulb and air release valve cuff range: 10``-16`` arm circumference Warranty: five years with 10 years’ gauge calibration  Quantity:2  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **Glucometr with scenso card,** plastic type, model number G-425-3, removable battery, quality certificate ISO, class II, safety standard GB2626.  Quantity:2  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **Digital Adult weight scale with meter,** Mechanical personal weighing scale(CN;ZHE): EBSA brand with customized support OEM and ODM, glass display type, model number DT-05 and warranty for 1 year  Quantity:2  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **Digital infant weight scale**  Quantity:1  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **Crown baby weight scale,** Manual power supply and display type  Quantity:1  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **Weight scale for children of 25kg,** Livestock scale (CN; GUA), power supply mechanical with dial display type, capacity 25kg/500gm, brand name QH, model number OCS-2, metal housing + stainless steel hook with hanging baby scale and 1-year warranty.  Quantity:2  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **Height/length measuring board**, Wooden type with Manual power supply and analogy display type, model prestige HM014, product size 130\*25cm  Quantity:2  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |
|  | **MUAC ,Adult tape,** Place of origin CN; ZHE, brand name circumference measuring  Quantity:4  Unit: pcs  Delivery: Addis Ababa | **Please provide delivery time and attach catalogue** |  |  |

**Delivery Time: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (To be filled)**

Lot 2: Medical Drugs

| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered** | **4.**  **Notes, remarks,  ref to documentation** | **5.**  **Evaluation committee’s notes** |
| --- | --- | --- | --- | --- |
| * 1. 11 | Albendazole - 400mg – Tablet  Quantity:10  Unit: Tin (50x10)  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Ciprofloxacin - 500mg – Tablet  Quantity:10  Unit: box (10x10)  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Ferrous Sulfate + Folic Acid - (150mg +0.5mg) - Tablet (Enteric Coated)  Quantity:10  Unit: pk (10x10)  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Ibuprofen - 400mg – Tablet  Quantity:10  Unit: box (10x10)  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Magnesium Sulfate - 50% in 10ml ampoule – Injectio  Quantity:1  Unit: 10  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Omeprazole - 20 mg - Capsule (Enclosing Enteric Coated Granules)  Quantity:10  Unit: 10x10  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Oral Rehydration Salt - 20.7g for 1 Littre Preparation – Powder  Quantity:700  Unit: sachet  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Paracetamol - 120mg/5ml – Syrup 60ml  Quantity:700  Unit:  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Serology - Hepatitis C Antibody Test Cassette  Quantity:10  Unit: of 40  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | Tetracycline - 1% - Eye Ointment  Quantity:100  Unit:  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | zinc oxide 20mg – tab  Quantity:25  Unit: pkt  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |
|  | zinc oxide skin oinment 1%  Quantity:50  Unit: tube  Delivery: Addis Ababa  Expire : More than 12 Months |  |  |  |