***ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER**

**Contract title: Supply of Medical Drugs, Laboratory Reagents, Medical Consumables and Medical Equipment** **p 1 /…**

**Publication reference: 28/CUAMM/ETH/2023**

**Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

**LOT 1–Supply of Medical Drugs**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **1.**  **Item number** | | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| [**Antibiotic**](https://www.salute-nella-scienza.it/salute/antibiotici.htm)**s** | | | | | |
| **1** | **Amoxicillin**  Specifications: **250mg capsule**  Unit: Pk of 100  Quantity: 25  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Amoxicillin**  Specifications: **500mg capsule**  Unit: Pk of 100  Quantity: 80  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Amoxicillin**  Specifications: **250mg/5ml oral suspension**  Unit: Bottle  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **4** | **Amoxicillin**  Specifications: 1**25mg/5ml oral suspension**  Unit: Bottle  Quantity: 30  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **5** | **Amoxicillin + Clavulanic acid** Specifications: **(250mg+ 62.5mg)/5ml suspension**  Unit: Bottle  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Amoxicillin + Clavulanic acid** Specifications: **228mg/5ml suspension**  Unit: Bottle  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Amoxicillin + Clavulanic acid** Specifications: **(800mg + 200mg) film coated tablet**  Unit: Pk of 15  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Amoxicillin + Clavulanic acid** Specifications: **457mg/5ml suspension**  Unit: Bottle  Quantity: 70  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Amoxicillin + Clavulanic acid** Specifications: **(500mg + 125mg) film coated tablet**  Unit: Pk of 15  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Amoxicillin**  Specifications: 1**25mg/5ml oral suspension**  Unit: Bottle  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **Ampicillin Sodium**  Specifications: **500mg powder for injection**  Unit: Pk of 50  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | **Azithromycin**  Specifications: **200mg/5ml oral suspension**  Unit: Bottle  Quantity: 60  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | **Azithromycin**  Specifications: **250mg tablet**  Unit: Pk of 6  Quantity: 80  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | **Azithromycin**  Specifications: **500mg tablet**  Unit: Pk of 3  Quantity: 120  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **15** | **Ceftazidime**  Specifications: **1 gm injection with diluent**  Unit: Vial  Quantity: 200  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **16** | **Ceftriaxone**  Specifications: **1 gm injection IV/IM with diluent**  Unit: Vial  Quantity: 1420  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | |  |  |  |
| **17** | **Chloramphenicole + Dexamethasone**  Specifications: **(0.5%+0.1%) eye drop**  Unit: Bottle  Quantity: 60  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **18** | **Cephalexin**  Specifications: **500mg capsule**  Unit: Pk of 100  Quantity: 15  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **19** | **Ciprofloxacin**  Specifications: **0.3% eye /ear drop**  Unit: Tube  Quantity: 210  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **20** | **Ciprofloxacin + Dexamethasone**  Specifications: **0.3% + 0.1% eye /ear drop**  Unit: Tube  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **21** | **Ciprofloxacin**  Specifications: **2mg/ml intravenous infusion with infusion set**  Unit: Bottle  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **22** | **Ciprofloxacin**  Specifications: **500mg tablet**  Unit: Pk of 100  Quantity: 85  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **23** | **Clarithromycin**  Specifications: **500mg tablet**  Unit: Pk of 100  Quantity: 30  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **24** | **Cloxacillin**  Specifications: 2**50mg capsule**  Unit: Pk of 100  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **25** | **Cloxacillin Sodium**  Specifications: **500mg powder for injection**  Unit: Pk of 50  Quantity: 5  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **26** | **Cloxacillin**  Specifications: 1**25mg/5ml suspension**  Unit: Bottle  Quantity: 60  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **27** | **Dexamethasone**  Specifications: **4mg/ml 1ml injection**  Unit: Ampoule  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **28** | **Metronidazole**  Specifications: **250 mg capsule**  Unit: Pk of 100  Quantity: 40  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **29** | **Metronidazole Hydrochloride**  Specifications: **5mg/ml intravenous infusion with infusion set**  Unit: Bottle  Quantity: 2400  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **30** | **Ciprofloxacin + Dexamethasone**  Specifications: **0.3% + 0.1% eye /ear drop**  Unit: Tube  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| [**Corticostero**](https://www.salute-nella-scienza.it/salute/farmaci/corticosteroidi-cortisonici.htm)**ids** | | | | | |
| **31** | **Hydrocortisone**  Specifications: **100mg injection**  Unit: Vial  Quantity: 200  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **32** | **Hydrocortisone**  Specifications: **1% ointment**  Unit: Tube  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **33** | **Dexamethasone 4mg/ml**  Specifications: 4mg/ml injection  Unit: Pkt of 5 ampule  Quantity: 140  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **Bronchodilator** | | | | | |
| **34** | **Beclomethasone propionate**  Specifications: 100mcg/dose- Aerosol (oral inhalation)  Unit: 200 metered dose  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | |  |  |  |
| **Anti-hypertensives** | | | | | |
| **35** | **Frusedamide**  Specifications: **20mg tablet**  Unit: Pk of 100  Quantity: 45  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **Anti-Seizure** | | | | | |
| **36** | **Phenobarbitone**  Specifications: **30mg tablet**  Unit: Pk of 150  Quantity: 27  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **37** | **Phenobarbitone**  Specifications: **100mg**  Unit: Pk of 150  Quantity: 40  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **Anti-Depressant** | | | | | |
| **38** | **Amitriptyline**  Specifications: **25mg tablet**  Unit: Pk of 250  Quantity: 30  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | |  |  |  |
| **Anti-Diabetics** | | | | | |
| **39** | **Metformin**  Specifications: **500mg tablet**  Unit: Pk of 100  Quantity: 16  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | |  |  |  |
| **A**[**ntacids**](https://www.salute-nella-scienza.it/salute/farmaci/farmaci-antiacidi-gastroprotettori.htm) | | | | | |
| **40** | **Omeprazole**  Specifications: **4mg/ml in 10ml injection**  Unit: Pk of 100  Quantity: 60  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **41** | **Cimetidine**  Specifications: **400mg tablets**  Unit: Pk of 100  Quantity: 05  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **IV fluids** | | | | | |
| **42** | **Dextrose**  Specifications: **40% in 20ml-intravenous infusion**  Unit: 50ml  Quantity: 246  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **Antiemetic** | | | | | |
| **43** | **Metoclopramide**  Specifications: **5mg/ml in 2ml injection**  Unit: Ampoule  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Antihistamines** | | | | |
| **44** | **Chlorpheniramine**  Specifications: **4mg tablet**  Unit: Pk of 100  Quantity: 30  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **45** | **Diphenhydramine**  Specifications: **12.5mg/5ml syrup**  Unit: Bottle  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **46** | **Cetirizine**  Specifications: **10mg tablet**  Unit: Pk of 100  Quantity: 05  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Antispasmodic** | | | | |
| **47** | **Hyoscine**  Specifications: **20mg/ml injection**  Unit: Pk of 100  Quantity: 03  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **Anti Fungal** | | | | |
| **48** | **Ketoconazole**  Specifications: **2% cream**  Unit: Tube  Quantity: 130  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Anesthesia medications** | | | | |
| **49** | **Lidocaine injection**  Specifications: **2% in 20ml**  Unit: Vial  Quantity: 5  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 2–Laboratory reagents**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Blood Group**  Specifications: Anti A, Anti B, & Anti D  Unit: PK of 3  Quantity: 35  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Cover slide glass**  Specifications: rectangular 22\*22  Unit: PK of 100pcs  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Cover slip**  Specifications:24\*50cm  Unit: PK of 100  Quantity: 50  Expires Date: 24 months or more Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | **HCG test**  Specifications: urine strip  Unit: PK of 25 test strip  Quantity: 80  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Microscopic slide**  Specifications: Frosted  Unit: PK of 50  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Microscopic slide**  Specifications: Non-frosted  Unit: PK of 50  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Glucometer**  Specifications: Gmate  Unit: PK of 50 test strip  Quantity: 01  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Glucometer machine**  Specifications: Gmate  Unit: each  Quantity: 03  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 3–Consumables**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Catheter Foley Siliconized latex** sterile two ways- 30-50ml Baloon-18 CH  Specification: 30-50ml Baloon-18 CH  Unit: Each  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Naso gastric tube**  Specification: sterile infant- 4 CH  Unit: each  Quantity: 50  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Spinal needle 6 cm**  Specification: 22G  Unit: each  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | **Ultrasound Jell**  Specification: 5kg  Unit: each  Quantity: 32  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| 5 | **Ultrasound printer paper**  Specification: Packet of 10 rolls  Unit: Roll  Quantity: 5  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 4– Medical Equipment**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| 01 | **Delivery bed or Coach**  **General Description:** Bed, labour delivery, with accessories  **Technical Specifications:**  • Bed, labour and delivery, 2 sections.  • All sections fit with padded mattress, detachable from bed for easy cleaning.  • Mattress covers removable via side zipper.  **Body section:**  • Mounted on 4 sturdy supports, finished with rubber feet.  • Knee crutch holders welded to the frame of the bed.  • Crutches are height and width adjustable, set with sturdy clamps with heavy knob.  • Leg section  • Mounted on swivel castors, of which two with brakes.  • This section recesses entirely under body section.  • When fully extended, both sections align to perfectly flat surface.  **Materials:**  • High resistance to corrosion (tropical environment).  • Frame: epoxy coated tubular steel.  • Sliders/fixtures for the knee crutches: tubular steel, welded to the bed frame.  • Recession tracks smoothly finished for easy sliding.  • Mattress: high-density polyurethane foam, density approx. 30 kg/m3.  • Cover: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid proof, washable.  **Dimensions:**  • Body section: approx. 1000 x 900 x 750 mm (l x w x h).  • Leg section: approx. 900 x 850 x 750 mm (l x w x h).  • Frame, diameter: approx. 40 mm.  • Swivel castors, diameter: approx. 120mm.  • Mattress: approx. 100 mm (h)  Carrying capacity: approx. 150kg.  **Supplied with:**  • 1 x set of tools required for assembly.  • 2 x leg holders with canvas straps, adjustable height and width.  • 2 x knee crutches, adjustable height and width.  • 1 x set fitting mattresses, body and leg section.  **Unit: each**  **Quantity: 2**  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **02** | **Patient bed**  **General Description:** Adult patient Bed, with mattress.  **Technical Specifications:**  • Standard hospital bed, 2 sections.  • Mounted on 4 swivel castors, of which two with brakes.  • Protective bumpers at all four corners. (optional)  12  • Bed-ends, finished with panels or equivalent.  • Two section platform, epoxy-painted steel mesh with side supports to immobilize mattress.  • Mattress cover removable via side zipper.  • Manually adjustable backrest, to approx. 45 degrees.  **Materials:**  • High resistance to corrosion (tropical environment).  • Frame: epoxy coated tubular steel.  • Mattress: high-density polyurethane foam, density approx. 30 kg/m3.  • Cover: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid proof, washable.  **Dimensions:**  • Sleeping surface: approx. 2000 x 900 mm (l x w).  • Height of surface: approx. 550 mm.  • Mattress: approx. 120 mm (h)  • Frame, diameter: approx. 30 mm.  • Swivel castors, diameter: approx. 120 mm.  • Carrying capacity: approx. 150 kg.  **Supplied with:**  • 1 x set of tools required for assembly.  • 1 x fitting mattress with cover.  • List of parts  • Detailed step-by-step line drawing based instructions for assembly and safe use  Unit. - each  Quantity: **02**  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **03** | **CBC Machine**  Specifications: Analyzer, Hematology, 3 differential  Unit: each  Quantity: 01  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |