***ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER**

**Contract title: Supply of Medical Drugs, Laboratory Reagents, Medical Consumables and Medical Equipment** **p 1 /…**

**Publication reference: 02/CUAMM/ETH/2024/**

**Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

**LOT 1–Essential Drugs/medications for CUAMM Health Facility**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **1.**  **Item number** | | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** | |
| [**Antibiotic**](https://www.salute-nella-scienza.it/salute/antibiotici.htm)**s** | | | | | | |
| **1** | Adrenaline  Specifications: **1mg/1ml injection**  Unit: ampoules  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **2** | **Amoxacillin**  Specifications: **250mg/5ml suspension**  Unit: bottle of 100ml  Quantity: 3000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **3** | **Amoxicillin**  Specifications: **500mg capsule**  Unit: 10\*50  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **4** | **Amoxicillin + Clavulanic acid** Specifications: **(250mg + 62.5mg)/5ml suspension**  Unit: bottle of 100ml  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **5** | **Albendazole**  Specifications: 100mg/5ml suspension  Unit: bottle of 20ml  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **6** | **Azithromycin**  Specifications: **500mg tablet**  Unit: pk of 3  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **7** | Azithromycin  Specifications: 200mg/5ml - Oral Suspension  Unit: bottle of 15ml  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **8** | **Azithromycin**  Specifications: **250mg tablet**  Unit: Pk of 6 tablets  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **9** | **Ceftriaxone**  Specifications: **1gm injection IV/IM with diluent**  Unit: Vial  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **10** | **Cephalexin**  Specifications: **125mg/5ml suspension**  Unit: Bottle of 100ml  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **11** | **Cephalexin**  Specifications: **500mg capsule**  Unit: Pk of 100 capsule  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **12** | **Chloramphenicole + Dexamethasone**  Specifications: **(0.5%+0.1%) eye drop**  Unit: Bottle of  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **13** | **Ciprofloxacin**  Specifications: **0.3% eye /ear drop**  Unit: bottle  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **14** | **Clotrimazole -**  Specifications: **1%** skin cream  Unit: Tube  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **15** | **Cloxacillin**  Specifications: - 125 mg/5 ml – Suspension    Unit: bottle of 100ml  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **16** | **Cloxacillin**  Specifications: **250mg/5ml suspension**  Unit: Bottle of 100ml  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **18** | **Cloxacillin**  Specifications: **500mg capsule**  Unit: box of 1000 capsule  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **19** | Chlorpheniramine  Specifications: **4mg tablet**  Unit: Pk of 100 tablets  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **20** | Chlorpheniramine  Specifications: **2mg/5ml syrup**  Unit: Bottle of 100ml  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **21** | **Clarithromycin**  Specifications: **500mg tablet**  Unit: Pk of 100 tablets  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **22** | **Diclofenac Sodium**  Specifications: **25mg/ml in 3ml injection**  Unit: Pk of 100 Ampules  Quantity: 30  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **23** | **Diclofenac Sodium**  Specifications: **50mg tablet**  Unit: Pk of 100 tablets  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **24** | **Diphenhydramine**  Specifications: 12.5/5ml oral syrup  Unit: bottle of 100ml  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **25** | **Dexamethasone**  Specifications: **4mg/ml 1ml injection**  Unit: Ampoule  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **26** | **Doxycycline**  Specifications: **100mg capsule**  Unit: Pk of 100capsules  Quantity:100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **27** | **Erythromycin**  Specifications: 250mg/5ml - Oral Suspension  Unit: bottle of 100ml  Quantity:500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **28** | **Erythromycin**  Specifications:500 mg tablet  Unit: pk of 100 tablets  Quantity:50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
|  | **Ferrous Sulphate + Folic** AcidSpecifications: (200mg + 0.4mg) - Tablet  Unit: pk of 100 tablets  Quantity:1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **29** | **Heam up**  Specifications: oral syrup  Unit: bottle of 200ml  Quantity:500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **30** | Gentamicin  Specifications: 0.3% - Eye/Ear drop  Unit: boottle  Quantity:500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **31** | Hydralazin hydrochloride  Specifications: 20mg/ml injectiom  Unit: ampoule  Quantity:50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **32** | **Hydrocortisone**  Specifications: **100mg injection**  Unit: Vial  Quantity: 600  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **33** | **Hydrocortisone**  Specifications: **15 mg cream**  Unit: Tube  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **34** | **Ibuprofen**  Specifications: **400mg tablet**  Unit: Pk of 100 tab  Quantity: 200  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **35** | **Ibuprofen**  Specifications: 100mg/5ml suspension  Unit: bottle of 100ml  Quantity: 700  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **36** | **Ketoconazole**  Specifications: **2% cream**  Unit: Tube  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **37** | **Magnesium Sulphate**  Specifications: **50% injection**  Unit: ampoule  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **38** | **Metoclopramide**  Specifications: **oral drop**  Unit: Bottle of 20ml  Quantity: 200  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **39** | **Metronidazole**  Specifications: **125mg/5ml oral suspension**  Unit: Bottle  Quantity:300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **40** | **Metronidazole**  Specifications: **250 mg capsule**  Unit: Pk of 1000  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **41** | **Multivitamins**  Specifications: **oral syrup**  Unit: bottle of 100ml  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **42** | **Norfloxacin**  Specifications: **400mg tablet**  Unit: Pk of 100  Quantity: 200  Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **43** | **Omeprazole**  **Specification 20mg capsule**  **Unit ; pk of 100**  **Quantity; 1000**  Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **44** | **Tetracycline**  Specifications: **3% skin ointment**  Unit: Tube  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **45** | **Tetracycline**  Specifications: **1% eye ointment**  Unit: Tube  Quantity: 2000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **46** | **Paracetamol**  Specifications: **120mg/5ml syrup**  Unit: Bottle  Quantity: 3000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **47** | **Paracetamol**  Specifications: **125mg suppository**  Unit: Pk of 100  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **48** | **Prednisolone 5mg tablet**  Specifications: **5mg/tablet**  Unit: Tin of 1000 tablets  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **49** | Oral Rehydration Salt  Specifications: **Oral rehydration salt with zink compassion.**  Unit: pk of 100  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **50** | **Chlorpheniramine**  Specifications: **4mg tablet**  Unit: Pk of 100  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **51** | **Diazepam**  Specifications: **10mg/2ml**  Unit: Ampoule  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **52** | **Alumunium hydroxide + Magnesium hydroxide + Simeticone**  Specifications: **(225+200+50) mg in 5ml suspension**  Unit: Bottle  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **53** | **Omeprazole**  Specifications: **20mg (enclosing e/c granules) capsule**  Unit: Pk of 100  Quantity: 55  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **54** | **Lidocaine injection**  Specifications: **2% in 20ml**  Unit: Vial  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **55** | **Dextrose**  Specifications: **5% in 0.9% Sodium chloride injection with giving Set**  Unit: 1000ml  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **56** | **Sodium chloride**  Specifications: **0.9% injection with giving set**  Unit:1000ml  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | | 1 |
| **57** | **Salbutamol**  Specifications: **oral inhalation (Aerosol) 0.1mg per dose**  Unit: Bottle  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **58** | **Artemeter 20mg &lumefantrine 120mg**  Specifications: **1x24 tablet**  Unit: Pack of 30 strip  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **58** | **Chloroquine phosphate**  Specifications: **250 mg tablet**  Unit: pk of 100  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **59** | **Premaquine phospate**  Specifications: **15 mg tablet**  Unit: Pk of 100  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **60** | **Premaquine phospate**  Specifications: **7.5 mg tablet**  Unit: Pk of 100  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **62** | **Folic Acid 5mg tablet**  Specifications: **5 mg tablet**  Unit: Pk of 100  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **63** | **Ferous sulphate drops**  Specifications: **75mg/5ml drop**  Unit: Bottle  Quantity: 240  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **64** | **Chlorhexidine jell**  Specifications: **25g**  Unit: Tube  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **65** | **Water for injection**  Specifications: **10ml**  Unit: Ampoule  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **66** | **Vitamin K**  Specifications: **10mg/ml injection**  Unit: Ampoule  Quantity: 200  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **67** | **Cimetidine**  Specification; 400mg/2ml **injection**  Unit: Ampoule  Quantity: 1000  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **68** | **Cimetidine**  Specification; 400mg tablet  Unit: PK of 100  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **69** | **Ranitidine**  Specification; 150mg tablet  Unit: PK of 100  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **70** | **Ergometrine**  Specification; 10mg/1ml injection  Unit: ampoule  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **71** | **Oxytocin**  Specification; 10unit/1ml injection  Unit: ampoule  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **72** | **Fucidic acid**  Specification; cream  Unit: tube  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **73** | **zinc sulphate**  Specification;20mg tablet  Unit: pk of 100  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **LOT 2–Medical Equipment for the Health Center** | | | | | | |
| **1** | Autoclave machine 24 liter with 2-3tay Specifications: Steam sterilizer 24 liter, 2-3 try, manual closing, inbuilt printer, Digital sterilization cycle recorder (SD & USB), Chamber size: 24 L, over heat protection, Pressure overload protection, Pressure safety valve, and pressure auto-lock, benchtop,  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **2** | Neonate weight scale(Salter scale) Specifications: 100gm division, horizontal height scale on the weight, pan type  Unit: pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **3** | Digital infant weight scale  Specifications: 5-digit display suitable for highly-visible readouts, easily cleanable, made of easily cleanable fiber pan, graded height scale in the pan,  Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **4** | Pulse oximeter (child)  Specifications: Table stand, rechargeable,  Unit: pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
|  | Pulse oximeter (Adult) Fingertip with patient monitor (wall or benchtop),  Specifications: rechargeable, Oxygen level & pulse rate wall digital display, UP to 10 hours working capacity of built-in rechargeable battery, 12.1 color TFT display,  Unit: pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **5** | Haematocrit Centrifuge for Hgb, HCT Specifications: 20 / 24 capillaries, > 12000 RPM, auto-balancing system, timer, benchtop  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **6** | Microscope  Specifications:  Magnification: 40X - 1000X  Tube: Binocular or Trinocular  View Head: 30° inclined, 360° rotating  Eyepiece: WF10X / 18mm  Nosepiece: 4-position  Objective: Plan Achromatic 4X, 10X, 40X, 100X  Illumination: LED lamp 3w,  With solar reflection mirrors  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **7** | Sterilizing Drum  Specifications: 260 mm diameter, stainless steel, Closing lid with a clip lock, Carrying handle,  Unit: pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **8** | Medical screen  Specifications: "• Ward screen  • three foldable panels  • Removable plastic cloth  • independent folding panels.  • ø50 mm casters.  • Structure made of enameled, chromed or stainless steel  • dimensions: 700 - 2100 x 400 x 1800 mm."  Unit: pcs  Quantity: 10  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **9** | Baby crib bed, wooden with wheel Specifications: 2 locking levers  dimensions: h83 x w124 x d64 cm  folded dimensions: h83 x w124 x d16 cm  Unit: Pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **10** | Tourniquet  Specifications: +/- 50cm (buckle and strap), Good elasticity, skin friendly, length 43-45cm not stretched, width 2 to 2.5cm.    Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **11** | G mate Glucometer machine  Specifications: G-mate glucometer with test strip,  Unit: Pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **12** | Timer for laboratory  Specifications: Timer mechanical with loud alarm, mechanical    Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **13** | Scissor,  Specifications: medium size 13.5 cm stainless steel    Unit: pcs  Quantity: 30  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **14** | vacuum extractor  Specifications: nonmetallic (plastic cup) with full set Silicon Cups for Vacuum Extractor  With Release Valve.  Baby Suction Silicon Cup. Hand-operated suction pump supports the vacuum extraction.  Vacuum range, adjustable: from 0 to -85kPa/-638mmHg  Gauge dial, minimal graduation: 5kPa/40mmHg  Accuracy vacuum gauge: ± 2.5kPa  All parts of the vacuum extractor can be disassembled.  All parts can be disassembled and are autoclavable at 121°C  Requires no other than routine maintenance, manageable at the level of delivery rooms  Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **15** | Plastic cup for vacuum extractor  Specifications: cup Silicone: transparent tubing, Vacuum silicon Cups are supplied in set of 3 : 40mm , 50mm & 60mm    Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |

**LOT 3–Laboratory Equipment and reagents**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Hydrogen per oxide**  Specifications:3% of 1L  Unit: Bottle  Quantity: 20  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Blood Group**  Specifications: Anti A, Anti B, & Anti D  Unit: PK of 3  Quantity: 20  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | Alcohol  Specifications: 70%  Unit: 1 liter  Quantity: 100  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED)Date: |  |  |
| **4** | **Cover slide glass**  Specifications: rectangular 22\*22  Unit: PK of 100pcs  Quantity: 20  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Glucometer test strip**  Specifications: G-mate  Unit: PK of 50 test strip  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **HeBsAg B test**  Specifications: kit  Unit: PK of 25 cassette form Only  Quantity: 60  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Micropipette**  Specifications: Blue  Unit: PK of 500  Quantity: 4  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Paster pipette**  Specifications: plastic  Unit: PK of 500  Quantity: 5  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Urine dipstick**  Specifications: 10 parameter test  Unit: pk of 100  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Heapatitis C anti body kit**  Specifications: kit  Unit: pk of 50  Quantity: 10  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **Emmersion oil**  Specifications:  Unit: 100ml  Quantity: 3  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | **Gimsa stain**  Specifications: **500ml**  Unit: bottle of 500ml  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | RDT malaria test kit  Specifications: **kit**  Unit: pk of 25  Quantity: 500  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | Heamosmart gold  Specifications:Heamoglobin test strip  Unit: pk of 50  Quantity: 50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **15** | Genitial violet  Specifications:500ml  Unit: 500ml  Quantity: 5  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **16** | Urine cup  Specifications:cup 40 ml, reusable  Unit: pcs  Quantity: 2000  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **17** | stool cup  Specifications:cup 30 ml  Unit: pcs  Quantity: 2000  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **18** | Methylene blue  Specifications:30 ml  Unit: bottle  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 4– Medical Consumables for Health centers**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | Apron plastic  Specification:washable and reusable  Unit: Pcs  Quantity: 500  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Cannula intravenous set**  Specification: 20 G  Unit: PK of 100  Quantity: 10  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | Delivery cape  Specification: Single use, disposable, pores for air circulation.  Unit: pcs  Quantity: 30  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | **delivery gown**  Specification: Reusable, cotton, with CUAMM logo  Unit: Pcs  Quantity: 30  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Catgut chromic**  Specification: -Gauge 2.0 (4/0) 75 cm on 15 mm 1/2 circle round bodied needle  Unit: Dozen  Quantity: 10  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Catheter Foley Siliconized latex** sterile two ways-  Specification 30-50ml Baloon-16 CH  Unit: Each  Quantity: 500  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Catheter Foley siliconized latex** sterile three ways  Specification: 30-50 ml Balloon 16 CH  Unit: Each  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Glove examination latex non-sterile**  Specification: - medium size  Unit. – pair  Quantity: 200  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Surgical scalpel blade**  Specification: No. 24  Unit: each  Quantity: 10  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Syringe (Disposable) sterile, 3 parts**  Specification: 10ml luer fitting with needle 21G  Unit: box of 100  Quantity: 32  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **Syringe (Disposable) sterile, 3 parts**  Specification: 20ml luer fitting with needle 21G  Unit: box of 50  Quantity: 2  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | **Syringe (Disposable) sterile, 3 parts**  Specification: 3ml luer fitting with needle 21G  Unit: Box of 100  Quantity: 30  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | **Tongue depressor (spatula)wooden**  Specification: box of 50  Unit: each  Quantity: 10  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | **Ultrasound Jell**  Specification: 5kg  Unit: each  Quantity: 3  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **15** | **Urine collecting bag** polyvinylchloride, latex-free product  Specification: 2000ml with outlet  Unit: each  Quantity: 100  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **16** | **Absorbent cotton**  Specification: 100mg  Unit: each  Quantity: 100  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |