***ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER**

**Contract title: Supply of Medical Drugs, Laboratory Equipment and reagents, Consumables and Medical Equipment** **p 1 /…**

**Publication reference:** 55/CUAMM/ETH/2024/AID12669

**Columns 1-2 should be completed by the contracting authority Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

**LOT 1–Essential Drugs/medications for Health Posts and CUAMM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **1.**  **Item number** | | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | | **5.**  **Evaluation committee’s notes** |
|  | | | | | | |
| **1** | **Amoxicillin Tablet**  Specification: 200 mg + 28.5 mg; 250 mg + 62.5 mg  Unit: 10x10  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **2** | **Ciprofloxacin Solution (ear drops)**  Specification: 0.3%  Unit: 10ml  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | |
| **3** | **Gentamicin Solution (eye drops)**  Specification: 0.3%  Unit: Tube  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | |
| **4** | **Griseofulvin Oral Liquid**  Specification: 125 mg/5 mL  Unit: 100ml  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **5** | **Metoclopramide Injection**  Specification: 5 mg/mL  Unit: Vial  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **6** | **Metoclopramide Tablet**  Specification: 10 mg  Unit: 10x10  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **7** | **Metronidazole Oral Liquid**  Specification: 125 mg/5 mL  Unit: 100ml  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **8** | **Paracetamol (Acetaminophen) Oral Liquid**  Specification: 120 mg/5 mL  Unit: 80ml  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **9** | **Paracetamol (Acetaminophen) Tablet**  Specification: 500 mg  Unit: 100x10  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **10** | **Iron Folic Acid**  Specification: 5mg  Unit: Pack  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **11** | **Metoclopramide Syrup**  Specification: 5mg/5ml  Unit: 2x10  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **12** | **Nystatin Ointment**  Specification: Not specified  Unit: Not specified  Quantity: 1  Expiry: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **13** | **Amoxicillin Capsule**  Specification: 500mg  Unit: 50x10  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **14** | **Amoxicillin Capsule**  Specification: 250mg  Unit: 100x10  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **15** | **Amoxicillin Suspension**  Specification: 250mg/5ml  Unit: 100ml  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **16** | **Amoxicillin Suspension**  Specification: 125mg/5ml  Unit: 100ml  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **17** | **Benzyl Benzoate Lotion**  Specification: 25% w/v  Unit: Bottle  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **18** | **Benzathine Penicillin Injection**  Specification: 1.4 MIU  Unit: Vial  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **19** | **Ferrous Sulfate + Folic Acid Tablet**  Specification: 150mg + 0.5mg (Enteric Coated)  Unit: 10x10  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **20** | **Mebendazole Tablet**  Specification: 100mg  Unit: Pack  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **21** | **Mebendazole Syrup**  Specification: 100mg/5ml  Unit: 30ml  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **22** | **Metronidazole Capsule**  Specification: 250mg  Unit: 100x10  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |
| **23** | **Water for Injection**  Specification: 5ml  Unit: 100x1  Quantity: 1  Expiry: 24 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  | | | |

**LOT 2–Laboratory Equipment and reagents Health Posts and CUAMM**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Serology - Hepatitis BsAg Test Cassette**  Specification: For rapid detection  Unit: 30 tests  Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Serology - Hepatitis C Antibody Test Cassette**  Specification: For rapid detection  Unit: 40 tests  Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Serology - Rapid Plasma Reagin (RPR) Test**  Specification: For syphilis screening  Unit: 50 tests  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED)Date: |  |  |
| **4** | **HCG Test Kit**  Specification: Rapid pregnancy test  Unit: 50 tests  Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Diluent**   Specification: mindray  S.No. UH-38010639  Unit: 20 L Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **CFL Lyse**   Specification: mindray  Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Probe cleaner**   Specification: mindray  Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **B30 Hematology control**   Specification: mindray, with three-part WBC differential,  Unit: tube Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **S30 Calibrator**   Specification: mindry, for WBC, RBC, PLT, HGB and MCV,  Unit: tube Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Lyse**  - **HX3** Specification: Hemax 330  Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **EZ-Cleaner.**  Specification: : Hemax 330  Unit: 1L×4/4L×1 Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **12** | **Test tube**  Specification: 12D, 12x75ml  Unit: Each Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | **Test tube**  Specification: 11x40ml (1.5ml centrifugal tube)  Unit: Each Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | **Test tube**  Specification: 10.7x42ml small closed anticoagulated tube  Unit: Each Quantity: 1 Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **LOT 3–Medical Equipment for the Health Post and CUAMM** | | | | |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Face Shield** Specifications: Full face shield with brow guard, adjustable head and crown band.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Gown** Specifications: Cotton Polyester White.  Unit: Each.  Quantity: 1.  Expiry Date: N/A. Delivery:  CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Disposable Face Masks** Specifications: Three-layered, 95\*177mm-Flat type.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | **Color-Coded Medical Waste Containers** Specifications: Durable, high-quality, medical-grade plastic.    Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Adult MUAC Tape** Specifications: 0-56 cm range, 1 mm graduations, clear color-coded zones, and durable.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Patient Examination Bed** Specifications: Size 1920 x 650 x 530-780; Backrest adjustable by crank; mild steel epoxy-coated finish.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Sphygmomanometer Aneroid** Specifications: Pressure range 0-300mmHg.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Stethoscope Adult** Specifications: Diaphragm 45.5mm, PVC crack-resistant tube, outer diameter 10mm, inner diameter 4.8mm.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Thermometer Room** Specifications: Digital.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **10** | **Digital Adult Weight Scale** Specifications: Capacity 200 kg or more, accuracy ± 0.1 kg, clear digital display, durable, hygienic, reliable power source.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **11** | **Weight Scale Pediatric** Specifications: 5-digit display, easily cleanable fiber pan, graded height scale in the pan.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **12** | **Wound Care Set** Specifications: Stainless steel scissors, forceps, dressing tray, scalpel handles, blades, retractors, hemostatic clamps, wound closure strips, adhesive dressings, gauze pads, antiseptic solutions.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **13** | **BMI Calculator** Specifications: Digital display, portable.    Unit: Pcs.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **14** | **Digital Adult Weight Scale with Meter** Specifications: Digital display with height meter.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **15** | **Height/Length Measuring Board** Specifications: Product size 130 x 25 cm.  Unit: Pcs.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **16** | **Otoscope** Specifications: Handheld, with LED illumination.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **17** | **Weight Scale for Children** Specifications: Capacity 25 kg, digital.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **18** | **IV drip Stand**  Specifications: 42.9in to 80.7in Height Adjustable with 2 Hooks and Wheels, Stainless Steel  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **19** | **Minor Surgical Set**  Specifications: stainless steel, Autoclavable in a high steam and high temperature Sterilizers, withstand corrosion and rust, Resist moisture  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **20** | **Pulse oximeter (Adult)** Fingertip with patient monitor (wall or benchtop),  Specifications: rechargeable, Oxygen level & pulse rate wall digital display, UP to 10 hours working capacity of built-in rechargeable battery, 12.1 color TFT display,  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **21** | **Sphygmomanometer Aneroid**  Specifications: with Universal Cuff 8.7 - 16.5,  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **22** | **Sphygmomanometer Digital**  Specifications: Cuff 17.7 inch, Backlit Display, and AC Adapters  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **23** | **Stethoscope Adult**  Specifications: diaphragm 45.5mm  Tube made PVC and crack resistant.  Tube diameter: outer 10mm, inner diameter 4.8mm  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **24** | **Stethoscope Neonatal**  Specifications: Double cup chest piece, Diaphragm (Ø: 23 mm), Bell (Ø: 18 mm) PVC tube (60mm max length), stainless steel arms, removable earpieces,  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **25** | **Stethoscope Pediatric**  Specifications: Double cup chest piece, Diaphragm (Ø: 31.5mm), PVC tube (560mm max length), stainless steel arms, removable earpieces  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **26** | **Stretchers**  Specifications: (208-230) x (50-55) x (10-15) cm  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **27** | **UPS 1800W**  Specifications:  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **28** | **Wheelchair**  Specifications: overall length of 1080 mm, seat width 500 mm, seat depth at least 425 mm, and backrest height at least 430 mm  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **29** | **Chemistry Machine**  Specifications: Semi-automatic clinical chemistry analyzer with 20 reagent positions, up to 60 tests/hour, pre-programmed routines, multi-mode analysis, self-test capability, optical and thermal precision, data management software, and uninterrupted power supply.  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **30** | **CPAP Machine**  Specifications:  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **31** | **Delivery Set**  Specifications: set  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **31** | **Glucometer**  Specifications: Compact, battery-operated point-of-care glucose analyzer for capillary, arterial, and venous blood, providing results within 5 minutes, with a measuring range of 0.55–30.8 mmol/L (10–555 mg/dL)  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **32** | **Color-Coded Medical Waste Containers** (Red, Yellow, Black),  Specifications: Durable, high-quality, medical-grade plastic  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **33** | **Oxygen Concentrator**  Specifications: adjustable flow rates up to 5 L/min (>82% oxygen), built-in oxygen monitor, alarms, digital hour meter, low noise (<50 dB), durable casing, wheels for mobility, cleanable filters, and power-efficient operation.  Size: open1795 x 2350mm and washable steel frame  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **34** | **Patient Bed**  Specifications:  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **35** | **Patient Examination bed**  Specifications: size 1920 x650 x530-780.  Back rest Adjustable by crank  Framework made of mild steel epoxy coated finish  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **36** | **Disposable Face Masks**  Specifications: Three-layered, 95\*177mm-Flat type  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **37** | **Delivery Coach**  Specifications: 180 x 80 x 80 cm (l x w x h) with 3 adjustable sections, corrosion-resistant steel frame, padded upholstery, Trendelenburg positioning, height-adjustable knee crutches, slide-out stainless steel basin-tray, and 150 kg capacity  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **38** | **Trolley**  Specifications: Stainless steel trolley with two non-removable shelves, swivel castors (two with brakes), push-bar handle, guard rails, protective bumpers, and 100 kg capacity  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **39** | **Fridge tag**  Specifications: Digital thermometer, mercury-free, with a range of 32–43°C, ±0.1°C accuracy, quick measurement within 120 seconds  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **40** | **Centrifuge.**  Specifications: High speed Bench top Centrifuge – Rotoh 1815.  Unit: Each  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **41** | **Microscope**  Specifications: Olopmpus.  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |

**LOT 4– Medical Consumables for Health Posts and CUAMM**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **42** | **Bleach** Specifications: 5% Sodium hypochlorite.  Unit: Bottle of 1000ml.  Quantity: 1.  Expiry Date: 24 months or more.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **43** | **Liquid Soap** Specifications: N/A.  Unit: Bottle of 1000ml.  Quantity: 1.  Expiry Date: 24 months or more.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **44** | **Cotton Wool** Specifications: 500 g, roll, non-sterile.  Unit: Roll.  Quantity: 1.  Expiry Date: 24 months or more.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **45** | **Surgical Gauze Roll** Specifications: 90cm x 100m, White, Non-Sterile, Pure Cotton.  Unit: Roll.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **46** | **Gentian Violet Solution** Specifications: 1% USP solution, 1 liter.  Unit: Bottle.  Quantity: 1.  Expiry Date: 24 months or more.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **47** | **Gynecological Examination Gloves - Serial Latex** Specifications: No. 7.0.  Unit: Pair of 50.  Quantity: 1.  Expiry Date: 24 months or more.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **48** | **Heavy Duty Latex Gloves (Medium)** Specifications: High resistance to liquid chemicals, long cuff, tear-resistant, comfortable lining.  Unit: Box.  Quantity: 1.  Expiry Date: 36 months or more.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **49** | **Povidone Iodine** Specifications: 10% Solution.    Unit: Bottle.  Quantity: 1.  Expiry Date: 48 months or more.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **50** | **Adhesive Plaster Zinc Oxide** Specifications: 7.5cm x 10m.  Unit: Roll.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **51** | **Alcohol Solution** Specifications: 70%.  Unit: Bottle.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **52** | **Chlorhexidine Gel** Specifications: Antiseptic, 15g.  Unit: Tube.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **53** | **Clean Glove Examination Latex** Specifications: Non-powdered, medium size.  Unit: 100 pairs.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **54** | **Cotton Roll** Specifications: Medical-grade, absorbent.  Unit: Roll.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **55** | **Gauze Bandage** Specifications: 7.5cm x 5m.  Unit: Roll.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **56** | **Syringe (Disposable)** Specifications: 3ml with Needle 21G.  Unit: 100x1.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **57** | **Syringe (Disposable)** Specifications: 5ml with Needle 21G.  Unit: 100x1.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **58** | **Safety Box** Specifications: For sharps disposal, 5L capacity.  Unit: Each.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **59** | **Ultrasound Gel** Specifications: 250ml.  Unit: Bottle.  Quantity: 1.  Expiry Date: N/A.  Delivery: CUAMM Addis Ababa. | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |

**LOT 5–Laboratory Equipment and reagents – Blood Bank**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Automated Blood Group Analyzer**  Specification: Fully automated, high throughput  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Anti-A Serum**  Specification: Monoclonal antibody  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Anti-B Serum**  Specification: Monoclonal antibody  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED)Date: |  |  |
| **4** | **Anti-D Serum**  Specification: RhD typing reagent  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Coombs Serum**  Specification: Direct antiglobulin test reagent  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Hepatitis B Surface Antigen Reagent**  Specification: For HBV testing  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Hepatitis C Antibody Reagent**  Specification: For HCV testing  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **HIV Antibody Reagent**  Specification: For HIV screening  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Sickle Cell Reagents**  Specification: Solubility test reagent  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Sedimentation Rate Testing Reagents**  Specification: Compatible with ESR analysis  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **Staining Reagents**  Specification: Compatible with hematology stains  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | **Syphilis Reagent**  Specification: RPR/VDRL-compatible  Unit: Each  Quantity: 1  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | **Pipettes**  Specification: Graduated, 10 mL capacity  Unit: Each  Quantity: 100  Expires Date: 24 months or longer  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED)Date: |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **LOT 6–Medical Equipment for the Blood Bank** | | | | |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Blood Bank Refrigerator**  Specification: 4°C temperature, lockable  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Freezers**  Specification: -20°C capacity, frost-free  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Phlebotomy Blood Draw Chairs**  Specification: Adjustable armrest, padded seat  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | **Blood Bag Tub Sealer**  Specification: Portable, battery-powered  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Platelet Agitator**  Specification: Horizontal shaking motion  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Platelet Incubator**  Specification: Temperature control 22°C  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Refrigerated Centrifuge**  Specification: 4000 rpm, digital control  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Workbenches**  Specification: Stainless steel, ergonomic design  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Wheeled Specimen Transport Coolers**  Specification: Thermal insulation, portable  Unit: Each  Quantity: 1  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 7– Medical Consumables for Blood Bank**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Blood Bags**  Specification: Double bag, CPDA-1 solution  Unit: Each  Quantity: 200  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Anticoagulant Solutions**  Specification: CPDA-1, 1L bottle  Unit: Bottle  Quantity: 10  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | **Absorbent Specimen Tube Pouches**  Specification: Medical-grade, spill-resistant  Unit: Each  Quantity: 50  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | **Alcohol Swabs**  Specification: Pre-saturated, sterile  Unit: Each  Quantity: 500  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Biohazard Labels**  Specification: Adhesive, high-visibility  Unit: Each  Quantity: 100  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Blood Unit Boot Trays**  Specification: Durable, spill-resistant  Unit: Each  Quantity: 10  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Tourniquets**  Specification: Latex-free, adjustable  Unit: Each  Quantity: 50  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **8** | **Sharps Disposal Containers**  Specification: 5L capacity, puncture-resistant  Unit: Each  Quantity: 50  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **9** | **Specimen Shipping Canisters**  Specification: Leak-proof, insulated  Unit: Each  Quantity: 50  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **10** | **Specimen Transport Insulated Totes**  Specification: Thermal insulation, reusable  Unit: Each  Quantity: 5  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **11** | **Freezer Packs**  Specification: Gel-based, reusable  Unit: Each  Quantity: 50  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |
| **12** | **Gauze and Bandages**  Specification: Sterile, absorbent  Unit: Each  Quantity: 500  Expires Date:  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  |  |