***ANNEXII+III:* TECHNICALSPECIFICATIONS+TECHNICALOFFER**

**Contract title: Supply of Medical Drugs, Reagents, Medical Consumables and Medical Equipment** **p1/…**

**Publication reference:** 53/CUAMM/ETH/2024/AID 05/12282/ETH

**Columns1-2shouldbecompletedbythecontractingauthorityColumns3-4shouldbecompletedbythetenderer**

**Column5isreservedfortheevaluationcommittee**

Annex III- the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column2iscompletedbythecontractingauthorityshowstherequiredspecifications(nottobemodifiedbythetenderer),
* Column3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column4allowsthetenderertomakecommentsonitsproposedsupplyandtomakeeventualreferencestothedocumentation

The eventual documentation supplied should clearly indicate highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the model sand the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

**LOT 1–Drugs for SGH Health Centers**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.****Item number** | **2.****Specifications required** | **3.****Specifications offered****TO BE FILLED BY THE SUPPLIER** | **4.****Notes, remarks, ref. to documentation** | **5.****Evaluation committee’s notes** |
| [**Antibiotic**](https://www.salute-nella-scienza.it/salute/antibiotici.htm)**s** |
| **1** | Adrenaline (Epinephrine)Specifications: **0.1% in 1ml ampoule –Injection**Unit: box of 100 ampuleQuantity: 4Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | **Aminophylline**Specifications: **200mg/10ml injection**Unit: box of 25 ampuleQuantity: 8Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | AmlodipineSpecifications: 5mg – TabletUnit: box of 100 tabQuantity: 150Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **4** | **Amoxicillin**Specifications: 500 CapsuleUnit: box of 500 tabQuantity: 214Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **5** | **Amoxicillin**Specifications: 250mg/5ml suspensionUnit: box of 100 bottleQuantity: 10Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **6** | **Amoxicillin**Specifications: **250mg – Capsule**Unit: box of 100Quantity: 5Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **7** | Amoxicillin + Clavulanic AcidSpecifications: (125mg +31.25mg)/5ml SuspensionUnit: box of 100 bottlesQuantity: 10Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **8** | **Amoxicillin + Clavulanic Acid**Specifications: (500mg +125mg) tabUnit: box of 20 tabQuantity: 640Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **9** | **Augmentin (amoxicillin + clavulanic acid)**Specifications: 312.5 mg/5 mUnit: box of 100 bottlesQuantity: 2Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **10** | AzithromycinSpecifications: 200mg/5ml - Oral SuspensionUnit: box of 100 bottleQuantity: 4Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **11** | Blood group Specifications: ABOUnit: box of 10 vialQuantity: 5Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **12** | Bupivacaine HydrochlorideSpecifications: **0.2% in 10ml Vial - Injection**Unit: box of 25 ampuleQuantity: 10Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **13** | **Cefixime**Specifications: **400mg – Tablet**Unit: bottle: Box of 100 tabQuantity: 5Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **14** | CefriaxoneSpecifications: 1gr im/ivUnit: box of 10 vialQuantity: 250Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **15** | **Ceftazidime**Specifications: 1g in vial - Powder for Injection with DiluentUnit: box of 10 VialQuantity: 150Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **16** | **Cephalexin**Specifications: 125mg/5ml - Oral SuspensionUnit: box of 100 bottleQuantity: 4Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **18** | **Cephalexin**Specifications: 500mg – Capsule Unit: box of 100 tabQuantity: 210Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **19** | **Cimetidine**Specifications: **200mg/ml in 2ml ampoule – Injection**Unit: box of 10 ampuleQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **20** | **Ciprofloxacin**Specifications: 500mg – TabletUnit: box of 100 tabletQuantity: 200Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **21** | **Clarithromycin**Specifications: 500 mg film coated tabletsUnit: box of 100 tabQuantity: 2Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **22** | **Cloxacillin**Specifications: 500 mg capsuleUnit: box of 500 tabQuantity: 153Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **23** | **Cloxacillin Sodium**Specifications: **125mg/5ml - Oral Suspension**Unit: box of 100 bottleQuantity: 10Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **24** | **Dextrose in Water**Specifications: 5% - Intravenous Infusion with Giving SetUnit: each 1000mlQuantity:550Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **25** | **Diclofenac**Specifications: 75 mg/2 ml injectionUnit: box of 100 amplQuantity: 3Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **26** | **Diclofenac Sodium**Specifications: 25mg/ml in 3ml ampoule - InjectionUnit: box of 100 ampuleQuantity:100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **27** | **Diclofenac Sodium**Specifications: 50mg – TabletUnit: box of 100 tabQuantity:150Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **28** | **Enalapril Maleate**Specifications:5mg – TabletUnit: box of 100 tabletQuantity:150Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
|  | Erythromycin StearateSpecifications:500mg – TabletUnit: box of 500Quantity:6Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **29** | **Ferrous Sulfate + Folic Acid**Specifications: (150mg +0.5mg) - Tablet (Enteric Coated)Unit: tin of 1000 tabQuantity: 4Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **30** | FrusemideSpecifications: 10mg/ml in 2ml ampoule – InjectionUnit: box of 100 ampuleQuantity:100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **31** | FurosemideSpecifications: 40mg tabUnit: box of 100 tabQuantity:4Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **32** | Heparin SulfateSpecifications:5000IU/ml in – InjectionUnit: box of 25 vialQuantity: 12Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **33** | **Hydralazine**Specifications: 20mg/ml injUnit:box of 25Quantity: 3Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **34** | **Hydrochlorothiazide**Specifications: 25mg – TabletUnit: box of 100Quantity: 158Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **35** | **Hydrocortisone**Specifications: 100 mg InjectionUnit: box of 25 VIALQuantity: 8Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **36** | **Hydrocortisone Sodium Succinate** Specifications: 50mg/ml in 2ml ampoule - InjectionUnit: box of 100Quantity: 60Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **37** | **Ibuprofen**Specifications: syrupUnit: box of 100bottleQuantity: 3Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **38** | **Insulin Isophane Human**Specifications: 100IU/ml in 10ml Vial - Injection(Suspension)Unit: box of 10 vialQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **39** | **Insulin Soluble Human** Specifications: 100IU/ml in 10ml Vial – InjectionUnit: box of 10 vialQuantity:100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **40** | **IV canula**Specifications: 18GUnit: box of 100Quantity: 2Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **41** | **IV canula**Specifications: **22G**Unit: box of 100Quantity: 5Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **42** | **Ketamine HCL**Specifications: 50 mg/ml in 10ml Ampoule Injection – InjectionUnit: box of 100 vialQuantity: 5Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **43** | **Lidocaine Hydroloride****Specification:2% 1ml injection**Unit: Box of 25 of 1 ml ampuleQuantity:12Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED |  |  |
| **44** | **Magnesium sulphate**Specifications: 50% in 20ml injUnit: box of 25 ampuleQuantity: 20Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **45** | **Metformin**Specifications: 500mg – TabletUnit: box of 100Quantity: 150Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **46** | **Methildopa**Specifications: **250mg tab**Unit: box of 100 Quantity: 2Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **47** | **Metoclopramide** Specifications: 5mg/ml in 2ml – InjectionUnit: box of 100 ampuleQuantity: 50Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **48** | **Metronidazole**Specifications:**250mg – Capsule**Unit: tin of 1000 tabQuantity: 38Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **49** | NifedipineSpecifications: 20mg – TabletUnit: box of 100Quantity: 156Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **50** | **Omeprazole**Specifications:4mg/ml in 10ml – Injection: Unit: box of 100 vialQuantity: 10Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **51** | **Oral Rehydration Salt**Specifications: 20.7g for 1 Littre Preparation - PowderUnit: box of 100Quantity: 20Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **52** | **Oxitocine**Specifications: 1mg injectionUnit: box of 10 ampuleQuantity: 40Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **53** | **Pancuronium Bromide**Specifications: 2 mg/ml in 2ml InjectionUnit: box of 100 vialQuantity:5Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **54** | **Paracetamol**Specifications: 125 mg suppositoryUnit: box 100 suppQuantity: 2Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **55** | **Propylthiouracil**Specifications: 50mg - Tablet (Scored)Unit: box of 100 tabletQuantity: 30Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **56** | **Ringer's Solution** Specifications: Each contains Na+ 147mEqIntravenous InfusionUnit: box of 12 bagsQuantity: 700Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  | 1 |
| **57** | **RPR**Specifications: test kitUnit: Box 30 kitQuantity: 10Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **58** | **Salbutamol (Albuterol)**Specifications: 2mg/5ml – SyrupUnit: each 100 ml bottleQuantity: 150Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **58** | **Salbutamol**Specifications: Oral InhalerUnit: Each 200mpQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **59** | **Sodium Chloride (Normal Saline)**Specifications: 0.009 - Intravenous InfusionUnit: box of 12 bagsQuantity: 600Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **60** | **Spironolactone**Specifications:25mg – TabletUnit: box of 100 tabQuantity:105Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **62** | **Surgical glove powdered**Specifications: 7.5 cmUnit: Box of 50Quantity: 20Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **63** | **Suxamethonium Chloride (Succinylcholine)**Specifications: 50 mg/ml in 10ml injectionUnit: box of 25 VialQuantity: 20Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **64** | **Syringe (Disposable)**Specifications: 10ml with Needle21GUnit: box of 100Quantity: 40Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **65** | **Tramadol HCl**Specifications:50mg/ml in 2ml - InjectionUnit: box of 100 AmpQuantity: 50Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **66** | **Ultrasound jel**Specifications: 5kUnit: each 5literQuantity:10 Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **67** | **Vancomycin**Specification; 1gm – InjectionUnit: box of 100 vialQuantity: 60Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **68** | **Vecuronium Bromide**Specification; 10 mg in vialUnit: box of 25 vialQuantity: 70Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **69** | **Vitamin B12 (Cyanocobalamin)**Specification; 1000mcg/ml in 1ml ampoule - InjectionUnit: box of 25 ampuleQuantity:16Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **70**  | **Vitamine K**Specification; 1mg injUnit: box of 30 ampQuantity:20Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

**LOT 2 - Laboratory Reagents for SGH**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.****Item number** | **2.****Specifications required** | **3.****Specifications offered****TO BE FILLED BY THE SUPPLIER** | **4.****Notes, remarks, ref. to documentation** | **5.****Evaluation committee’s notes** |
| **1** | **Alanine Aminotransferase**Specifications:ALT (Serum Glutamic Pyruvic Trans SGPT)Unit: 200mlQuantity: 50Expires Date: 36 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | **Clinical Chemistry**Specifications: Albumin LiqucolorUnit: 300 mlQuantity: 50Expires Date: 36 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | Clinical ChemistrySpecifications: Alfa AmylaseUnit: 100mlQuantity: 50Expires Date: 36 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED)Date: |  |  |
| **4** | **Clinical Chemistry**Specifications: Alkaline Phosphatase (ALP)Unit:100mlQuantity: 50Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **5** | **Aspartate Aminotransferase**Specifications: AST (Serum Glutamic Oxaloacet SGOT)Unit: 200mlQuantity: 50Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **6** | **Bilirubin**Specifications: Direct(BILD)Unit: 160mlQuantity:30Expires Date: 36 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **7** | **Bilirubin**Specifications: Total (BILT)Unit: 10x10mlQuantity: 20Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **8** | **Blood Urea Nitrogen**Specifications: BUN (Urea)Unit: 200mlQuantity: 20Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **9** | **Control**Specifications: Normal (N)Unit:10x5mlQuantity: 20Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **10** | **Control**Specifications: Pathological (P)Unit: 30mlQuantity: 20Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **11** | **Creatinine Kinase**Specifications: (CPK) TotalUnit: 4x10mlQuantity: 20Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **12** | **Clinical Chemistry**Specifications: **Multipara Serum Calibrator**Unit: 10x3mlQuantity: 20Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **13** | SerologySpecifications:**Helicobacter Pylori (H. Pylori) Antigen Test Strip**Unit: 50 testsQuantity: 50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **14** | SerologySpecifications:**Hepatitis BsAg Test Cassette**Unit:30testsQuantity:150Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **15** | SerologySpecifications:Hepatitis C Antibody Test CassetteUnit: 40testsQuantity: 150Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **16** | SerologySpecifications: **Proteus OX-19 Antigen**Unit: 5mlQuantity: 50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **17** | SerologySpecifications: **Rapid Plasma Ragin-RPR (Venereal Disease Research Laboratory-VDRL)**Unit:100testsQuantity: 50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **18** | SerologySpecifications: Rheumatoid Factor (RF) Test SlideUnit: 50 testsQuantity: 50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **19** | SerologySpecifications: Salmonella Typhi "H" + Salmonella Typhi "O" Antigen (Widal) Test, agglutination methodUnit: 2x5mlQuantity:50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **20** | Urine DipstickSpecifications:**10 Parameters (Blood, Bilirubin, Urobilinogen, Ketone, Protein, Nitrite, Glucose, PH, Specific Gravity, Leucocytes)**Unit:100 testsQuantity:100Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **21** | Micropipette tipsSpecifications:**10-200 µl**Unit: 1000Quantity:20Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **22** | Micropipette tipsSpecifications:200-1000 µlUnit: 1000Quantity:20Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **23** | Pasteur pipette (plastic) nonSpecifications:sterile 3mlUnit: 500Quantity: 50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **24** | Urine cup plasticSpecifications: 40ml capacityUnit:1000Quantity: 50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **25** | Vacutainer blood collector tube EDTA anti-coagulant purple topSpecifications:4mlUnit:100 Quantity: 200Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **26** | Vacutainer blood collector tube with citrated anti-coagulant blue topSpecifications:4mlUnit:100Quantity:50Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **27** | Vacutainer blood collector tube vacuum red topSpecifications: 10mlUnit:100Quantity: 50Expires Date:12 months or moreDelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

**LOT 3 - Medical Supply for SGH**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.****Item number** | **2.****Specifications required** | **3.****Specifications offered****TO BE FILLED BY THE SUPPLIER** | **4.****Notes, remarks, ref. to documentation** | **5.****Evaluation committee’s notes** |
| **1** | Adhesive Plaster Zinc OxideSpecification:12.5cmx10mUnit: RollQuantity:50Expires Date: 36 months or moreDelivery: CUAMM Addis Ababa |  Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | **Cannula Intravenous Set**Specification: 22GUnit: Box of 100 cannulaQuantity: 50Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | Cat Gut ChromicSpecification: Gauge (4/0) 75cm on 15mm 1/2 Circle Cutting Unit: box of 12 cut gutQuantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **4** | Cat Gut ChromicSpecification:Gauge 3.0(3/0) 75cm on 25 mm ½ Circle Round Unit: box of 12 cut gutQuantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **5** | **Catheter Foley Siliconized Latex Three Ways** Specification: 30-50ml Balloon 18CHUnit: box of 10Quantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **6** | Catheter Foley Siliconized Latex Two WaysSpecification: 30-50ml Balloon 16CHUnit: box 10Quantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **7** | Cotton Absorbent WoolSpecification: 100gmUnit: box of 100Quantity: 10Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **8** | **Cotton Absorbent Wool**Specification: 500gmUnit: RollQuantity:100Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **9** | **Gauze Surgical**Specification:90cmx100m mesh size 19x15Unit: Roll Quantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **10** | **Glove Examination Latex Non Powdered** Specification: MediumUnit: box of 100Quantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **11** | **Glove Surgical Latex Powder -Free Sterile**Specification: No.7.5Unit: box of 50Quantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **12** | **Mersilk Braided Black**Specification: Gauge 2.0 (1) 75cm on 26 mm ½ Circle Reverse CuttingUnit: DozenQuantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **13** | **Mersilk Braided Black**Specification: Gauge 2.0 (3/0) 75cm on 26 mm ½ CuttingUnit: DozenQuantity: 100Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **14** | **Naso-gastric Tube Sterile Infant**Specification: 4CHUnit: BOX 100Quantity: 15Expires Date: 36 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **15** | Polyglycolic Acid Absorbable Braided VioletSpecification: Gauge 2.0(3/0) Round Unit: DozenQuantity:60 Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **16** | **Polyglycolic Acid Absorbable Braided Violet**Specification: Gauge 1.5(4/0) RoundUnit: DozenQuantity: 60Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **17** | **Polyglycolic Acid Absorbable Braided Violet**Specification: Gauge3.0(2/0) RoundUnit: DozenQuantity:60Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **18** | **Polyglycolic Acid Absorbable Braided Violet**Specification: Gauge3.5(0) 75 RoundUnit: DozenQuantity: 60Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **19** | **Polyglycolic Acid Absorbable Braided Violet**Specification: Gauge4.0(1) CuttingUnit: DozenQuantity: 60Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **20** | **Polyglycolic Acid Absorbable Braided Violet**Specification: Gauge 4.0(1) RoundUnit: Dozen Quantity: 60Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **21** | **Spinal Needle 6cm**Specification: 21GUnit: BOX OF 25Quantity:40Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **22** | **Spinal Needle 8cm**Specification:22GUnit: BOX OF 25Quantity: 40Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **23** | **Syringe (Disposable)**Specification: 10ml with Needle21GUnit: BOX OF 100Quantity: 50Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **24** | **Syringe Insulin (Disposable)**Specification:1ml on 6mm with Fixed Needle30GUnit: BOX OF 100Quantity:50Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **25** | **Tracheostomy Tube**Specification:4.5 mm with 90 curvature armored with low Pressure Cuff Universal inflation funnel and pilot balloonUnit: EachQuantity:50Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **26** | **mbilical Clamp Sterile**Specification**: 5.3cm**Unit: BOX OF 100Quantity:100Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **27** | **Urine Collecting Bag PVC Latex Product****Specification: 1000ml**Unit: BOX OF 25Quantity:100Expires Date: 48 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

**LOT 4– Psychotropic SGH Health Centers**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.****Item number** | **2.****Specifications required** | **3.****Specifications offered****TO BE FILLED BY THE SUPPLIER** | **4.****Notes, remarks, ref. to documentation** | **5.****Evaluation committee’s notes** |
| **1** | AmitriptylineSpecification: 25mg – TabletUnit: box of 100 tabletQuantity: 50Expires Date: 36 months or moreDelivery: CUAMM Addis Ababa |  Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | **Benzhexol (Trihexyphenidyl HCL)**Specification: 5mg - TabletUnit: box of 100 tabletQuantity:25Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | CarbamazepineSpecification: 200mg – TabletUnit: box of 100 tabletQuantity: 50Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **4** | **Chlorpromazine Hydrochloride**Specification: 25mg -TabletUnit: box of 100 tabletQuantity: 12Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **5** | Chlorpromazine Hydrochloride Specification: 25mg/2ml InjectionUnit: box of 50 vialQuantity:12Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **6** | **Diazepam**Specification:5 mg/ml in 2ml InjectionUnit: box of 100 vialQuantity: 50Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **7** | HaloperidolSpecification:5mg – TabletUnit: box of 100 tabletQuantity: 12Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **8** | **Phenobarbitone (Phenobarbital)**Specification: 100mg - TabletUnit: box of 100 tabletQuantity: 20Expires Date: 12 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **9** | **Phenytoin (Diphenhydantoin)**Specification: 100mg - TabletUnit: box of 100 tabletQuantity: 20Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **10** | **Risperidone**Specification: 2mg tabUnit: box of 100 tabletQuantity: 30Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **11** | **Sodium Valproate**Specification: 200mg – TabletUnit: box of 100Quantity: 18Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **12** | **Sodium Valproate**Specification:500mg – TabletUnit: box of 100Quantity: 6Expires Date: 24 months or moreDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

**LOT 5–Endabagna CEmONC drugs**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.****Item number** | **2.****Specifications required** | **3.****Specifications offered****TO BE FILLED BY THE SUPPLIER** | **4.****Notes, remarks, ref. to documentation** | **5.****Evaluation committee’s notes** |
| **1** | AmoxicillinSpecifications: 500 mg capsuleUnit: box of 500 tabQuantity:20Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | **Ampicillin Sodium**Specifications: 500 mg for injection IM/IVUnit: box of 10 vialQuantity: 20Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | Augmentin (amoxicillin and clavulanic acid)Specifications:625 mgUnit: box of 20 tabQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **4** | **Azithromycin**Specifications: 500 mg tabletUnit: box of 30 tabQuantity:100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **5** | **Ceftriaxone**Specifications: 1 g injectionUnit: box of 10 vialQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **6** | **Ferrous Sulfate + Folic Acid**Specifications: (150mg +0.5mg) - Tablet (Enteric Coated)Unit: Tin of 1000 tabQuantity: 6Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **7** | **Methildopa**Specifications:250mg tabUnit: box of 100 tabQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **8** | **Metronidazole**Specifications:5mg/ml - Intravenous InfusionUnit: Each of 100mlQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **9** | **Nifedipine**Specifications: 20 mg tabUnit: box of 100 tabQuantity: 100Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **10** | RingerSpecifications: LactateUnit: Each 1000MLQuantity: 300Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **11** | Sodium Chloride (Normal Saline)Specifications:0.9% Intravenous InfusionUnit: Each 1000mlQuantity: 500Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **12** | Vancomycin hydrochlorideSpecifications: 500 mg for injectionUnit: box of 100 vialQuantity: 2Expires Date: 12 months or longerDelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

**LOT 6 – Endabaguna CEmONC Equipment**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1** | Delivery CoachSpecifications: HL-A231A delivery coach* Bed, labour and delivery, 2 sections.
* All sections fit with padded mattress, detachable from bed for easy cleaning.
* Mattress covers removable via side zipper.

**Body section:** • Mounted on 4 sturdy supports, finished with rubber feet. • Knee crutch holders welded to the frame of the bed. • Crutches are height and width adjustable, set with sturdy clamps with heavy knob. • Leg section • Mounted on swivel castors, of which two with brakes. • This section recesses entirely under body section. • When fully extended, both sections align to perfectly flat surface. **Materials:** • High resistance to corrosion (tropical environment). • Frame: epoxy coated tubular steel. • Sliders/fixtures for the knee crutches: tubular steel, welded to the bed frame. • Recession tracks smoothly finished for easy sliding. • Mattress: high-density polyurethane foam, density approx. 30 kg/m3. • Cover: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid proof, washable. **Dimensions:** • Body section: approx. 1000 x 900 x 750 mm (l x w x h). • Leg section: approx. 900 x 850 x 750 mm (l x w x h). • Frame, diameter: approx. 40 mm. • Swivel castors, diameter: approx. 120mm. • Mattress: approx. 100 mm (h) Carrying capacity: approx. 150kg. **Supplied with:** • 1 x set of tools required for assembly. • 2 x leg holders with canvas straps, adjustable height and width. • 2 x knee crutches, adjustable height and width. • 1 x set fitting mattresses, body and leg section. • List of parts. Unit: PcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa |  Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | Abdominal RetractorSpecification: Balfour 10 self-retaining retractorUnit: pcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | Basic Laparotomy setSpecifications: 108-Piece Basic Laparotomy set(can be packed in different number of pieces)

|  |  |
| --- | --- |
| Instrument tray, wire mesh, 48 x 24 x 5 cm, S/S  |  |
| Forceps, artery, Kocher, curved, 26 cm  |  |
| Forceps, hysterectomy, Maingot, curved, 24 cm  |  |
| Abdominal Retractor, Doyen, 120 x 45 mm  |  |
| Mayo safety pin Towel Clip  |

Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **4** | Cesarean Section setSpecifications: can be packed in different pieces

|  |  |
| --- | --- |
| Instrument tray, wire mesh, 48 x 24 x 5 cm, S/S  |  |
| Forceps, uterine haemostasis, Green-Armytage  |  |
| Forceps, obstetric, Wrigley, 23 cm  |  |
| Forceps, obstetric, Simpson-Braun, 33 cm  |  |
| Speculum, vaginal, Graves, medium  |

Unit: PcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **5** | CPAPSpecifications: Electrically powered, electronically controlled, volume cycled lung ventilator. • Volume and Pressure control ventilation • Pressure support • Back up ventilation • PEEP /CPAP ventilation • Comprehensive Alarms and monitoring • Digital read-outs for temperature, oxygen percentage and respiration rate • Gas delivery system by internal air source, built in compressor • Humidifier for extended ventilation • Air Oxygen mixer • On mobile stand with support arm and place for 2 bottle • Built-in battery back up to 8 hours • Power requirements 100-240 VAC, 50/60Hz 12-30 VDC • Power consumption: 250 W • Dimensions approx. 0.5 x 0.5 x 1.2m **Material :** Various composite materials **Packaging and labelling :** • Primary packaging : Unit of use • One (1) unit in crate, packed with manufacturer's instruction for use Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **6** | Deaver RetractorSpecifications: Retractor, Deaver, 50 mm, 30 cm Unit: pcsQuantity: 3Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **7** | Delivery setSpecifications: with instruments (2 stainless steel kidney dishes, 25 cm1 st.st. Triangular dish (placenta dish)1 st.st. Bowl, 6"1 Mayo scissors, straight, 15cm2 Spencer Well's artery forceps, straight, 20 cm1 Sponge holder, 25 cm1 Cord scissors1 Episiotomy scissors2 Female catheterUnit: pcsQuantity: 5Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **8** | Fetal MonitorSpecifications: Medgyn Fetal Monitor F9Designed for the application in the antepartum, intrapartum and postpartum applications. • Suitable for private obstetrician office, antepartum clinic, moving situation or home monitoring situation. It offers most advanced integrated monitoring of fetus and mother. • Twins monitoring capability • Thermal printer or inkjet printer • Support external thermal printer or inkJet printer • Built-in rechargeable battery, DC/AC power supply • Built-in network capability • Large color TFT screen display waveforms and digitals • Maternal Parameters: ECG, SPO2, NIBP, RESP, TEMP • Automatic Fetal Movement Detection, AFM waveform display • 24 hours monitoring data storage and reload • Acceleration and Deceleration measurement ability • Baseline, acceleration and deceleration analysis capability • Easy operation by with shortcut key and rotary knob • Super printing functions • Automatic monitoring mode, parameters configurable • Clinical data management, can be reload, reanalysis, reprint • Visual and audio alarm, comply with international standard • 2 MHz pulse wave • Precision: ±1-2 bpm221 • Electric specification:220/230 V AC: 50Hz • Record differentiated: 30bpm/cm • Temperature: 5℃-40℃ • Brightness LED power supply indicator light • audible and visual alarm • Alarm: upper and lower limit alarm Unit: pcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **9** | GlucometerSpecifications: On Call Plus glucometerFor glucose measurement, a hand-held device, automatic Zero setting between measurementsSample size of 5-10 ul. (capillary, venous or arterial whole blood)Reading time: 10sec-5min supplied with lancets and test strips specifiedUnit: pcsQuantity: 3Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **10** | Glucometer Test stripSpecifications: On Call Plus glucometer stripUnit: pack of 50 pcsQuantity: 10Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **11** | IncubatorSpecifications: fanem 1186 incubatorBasic automatic double wall incubator for neonatal care • Sturdy and stable construction on 4 antistatic bal-bearing swivel castors, 2 with breaks • Integrated base cabinet with 2 drawers • Fit with canopy, approx: 90 x 55 x 45 cm (l x w x h) • Front panel: inclined side, with large door, with 2 port holes • Rear: 2 port holes • Apertures for tubes: 4 • Silent window panel rotation and closing system • Fixed tray with tilt position, approx: +/- 10 degree • Moulded corrosion resistant under-deck • Construction allows frequent dismantling for cleaning and disinfection • Side handle facilitates positioning • Protection rail and accessories support on 4 sides • Monitor console/platform provision to fit vital monitor or pulse oximeter • Fit with support for 10 L oxygen cylinder Incubator performance characteristics: • Servo temperature control: electronic (thermistor based) • Temperature control modes: air and skin • Air temperature setting, approx: 28.0 to 39.0 C, increments 0.5 C • Accuracy air temperature monitoring sensor: ± 0.1 C Skin temperature setting, approx: 35.0 to 38.0 C, increments 0.5 C • Accuracy skin temperature monitoring sensor: ± 0.1 C Warm-up time to 37ºC and stabilize, approx: 20 min (starting at 20 C) Sound level inside incubator: < 45 dB(A) Air velocity over the bed: < 25 cm/sec Air filter capacity at inlet: 99 % (for > 0.5 um) • Incubator performance monitoring: Self-diagnosis with each start-up Integrity testing of all system parameters every 5 minutes Large display shows operation with set and measured valuesPermanent automatic verification of temperature probes and heating devices Audible visual alarms for: skin temperature low and high, air temperature low and high, air failure (fan), heater failure, failure air and skin probe, temperature > 39 C in any mode, power failure, canopy open, control module open and circuit fault, safety availability testing • Power requirements: 220 V / 50 Hz • Power consumption, approx: 800 W **Supplied with:** 1 x Spare set of skin probes 1 x IV pole with rail fixation clamp 3 x Spare set of air filters 1 x Set of spare fuses Clear instructions for use / diagrams for assembly in 3 languages (English, French and Spanish), list of accessories / parts.Unit: pcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **12** | Manual suction for neonatesSpecifications: Penguin manual suctionUnit: PcsQuantity: 6Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **13** | MattressSpecifications: Plastic, StandardUnit: pcsQuantity: 13Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **14** | Neonatal size nasal prongSpecifications: ONTEX Oxygen Nasal Cannula Pediatrics Size (xxs)-30Size (xs)-30Unit: pcsQuantity: 60Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **15** | Oxygen concentratorSpecifications: LONGFIAN JAY 10 Dual Oxygen Concentrator Integrated Oxygen Sensing Device (OSD) measures concentration at flow meter entrance. • Output flow: max 5 LPM (Litre Per Minute) • Flow meter range: 1 to 5 LPM • Output pressure: 60 kPa. • Oxygen concentration: 95% ±3% at 1-3 LPM, 92% ±3% at 4 LPM, 90% ±3% at 5 LPM. 460 • Time to reach 95% the specified performance: 5 minutes. • Four-step filtering (coarse, pre, inlet and bacterial) of air-intake. • All filters replaceable, coarse filter washable/reusable. • Continuous monitoring, with visual and audible alert on: Low and high output pressure and Low oxygen concentration • **Oxygen monitor**: amber light on the front illuminates when oxygen concentrator is below 85%. If concentration remains below 85% for more than 15 minutes, an audible alarm sounds. Power failure and Battery test • Temperature operating range: 20 to 60 C • Relative humidity operating range: up to 99% • Sound level produced: 40 to 50 dB(A) • Power requirements: 220 V, 50 Hz • Power consumption, approx: 500 W **Oxygen concentrator is supplied as a complete set with:** • 1 x Oxygen concentrator • 1 x Power cord • 2 x Adult cannula, with 2 m tubing. • 4 x Infant cannula, with 2 m tubing. • 4 x Pediatric cannulas, with 2 m tubing. • 3 x Connector for above. • 4 x Humidifiers. • 4 x 50' tubing. • 4 x Adapter kit. • 1 x Box of 6 coarse filters (spare) • 3 x Pre-filters (spare) • 3 x Inlet-filters (spare) • 3 x Bacterial-filters (spare) • 1 x Instruction manual in 3 languages (English, French, Spanish) • 1 x Service manual in 3 languages (English, French, Spanish). **Packaging and labelling:** • Unit presentation: 1 (one) Oxygen concentrator with accessories and instruction guidelines • Labelling on the primary packaging: • Manufacturer's name and logo. • Manufacturer's product reference. • Manufacture and expiry date, lot number (if applicable) • Main characteristics (dimensions, capacity) • Recommended storage conditions (if applicable) • Information for handling (if applicable) • Weight/Volume: • Estimated Weight: • Estimated Volume: **Accessories/Spare parts/Consumables:** S0002052 Flow splitte, for oxygen concentrator. Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **16** | Pediatrics Nasal ProngSpecifications: ONTEX Oxygen Nasal Cannula Pediatrics Size(S) Unit: pcsQuantity: 50Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **17** | Pulse oximeterSpecifications: Display of oxygen saturation and pulse rate. • Oxygen saturation measurement range from 0 -100%. • Pulse strength perfusion indication • Capability of Plethesomography. • Pulse rate measurement from 20-250 bpm. • Visual and audible indication of alarms. • High and low alarms settings. • Adult finger and pediatric sensor (reusable type) **Power requirements:** • Power of 220 V± 10%, 50 Hz. • Built-in re-chargeable battery Unit: pcsQuantity: 3Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **18** | Radiant warmerSpecifications: Phoenix Infant Radiant warmerMobile freestanding fixed-height overhead radiant warmer • Can be used in combination with a newborn and infant bed • Sturdy and stable construction on 4 antistatic bal-bearing swivel castors, 2 with breaks • Side handles facilitate positioning • Hood integrates heating element and light • Vertical column integrates controls and displays • Overhead exanimation light: 2 x 40 W halogen spot, with dimming function • Heating element: emitter with parabolic reflector protected by metal grid • Preset skin temperature, range approx: 34 to 38 C, increments 0.1 C • Temperature preset drives heater output in servo mode • Easy switch between servo and manual mode • Skin temperature monitoring via sensor, range: 30 to 42 C (sensitivity 0.2 C) • Sensor thermistor based and factory calibrated • Preset heater output: 0 to 100 %, in 10 % increments • Integrated timer, preset: 1 to 59 min with up/down count feature, increments 1 min • Auto-off at time elapse • Audiovisual alarm on skin temperature (+/- 0.1 C of preset value) and time (elapse) • Large LED display shows: Heater output preset in Watt  Mode (servo or manual)  Preset skin temperature  Actual skin temperature  Air temperature  Elapsed or remaining time • Display reports system errors such: sensor malfunction, timer failure, low/high temperature • Dimensions, approx: 0.90 x 0.80 x 1.90 m (l x w x h) • Power requirement: 220 V / 50 Hz • Power consumption, approx: 800 W Unit: pcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **19** | Suction machineSpecifications: Plastic Yuwell 7A Electric Suction MachineUnit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **20** | UltrasoundSpecifications: **GYN/OBS Ultrasound Machine** **Description:** Ultrasound Machine OB/GYN Vasc Cardiac, with doppler capability Important features and details. • Studies performed: Pulsed, CW, Color, Doppler, M Mode, 2D • Ultrasound VCR included • Machine based with sector probe options (software package), frequency 3-5Mhz • Video Printer included Cardiac & Vascular Calculation Packages • Micro fine Grayscale Imaging • Adaptive Image Processing • Real-time Compound Imaging • Integrated Stress Echo Package • Color Doppler, Color Angio & Colorization • Spectral Steered PW & CW Doppler • Tissue Doppler Imaging • M-Mode • Automated Patient Atomization • Cineloop Review & High Definition Zoom • ECG • High Resolution Non-Interlaced Monitor **Additional acesasaryies** • Curved Array Convex Transducer • Convex abdominal Transducer • Curved Array Convex Transducer • 4V 8-4Mhz Broadband Curved array Endovaginal Transducer • 0-9.0Mhz Endovaginal Transducer • Linear approximately 38mm Transducer, /describe sizeLinear approximately 38mm Transducer, /describe size • Phased Array Cardiac Transducer, • Phased Array Cardiac Sector Transducer, • General Purpose Sector Transducer, • Pediatric Cardiac Sector Transducer, Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

**LOT 7–Endabaguna Clothing PPE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1** | ApronSpecifications: Apron plastic, Washable and reusable, DENIM BIB Apron (5 medium and 5 large)Unit: PcsQuantity: 10Expires Date: N/ADelivery: CUAMM Addis Ababa |  Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | GownSpecifications: Reusable, cotton, with CUAMM logo, Boshi operation theatre gown 10 men – (5 medium sized and 5 small sized)10 female-( 5 small and 5 medium)Unit: pcsQuantity: 20Expires Date: N/ADelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | OR ShoesSpecifications: standard - 10 for men – (5 small 5 medium), 10 for female (5 small and 5 medium)Unit: Pairs Quantity: 20Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **4** | Rubber sheetSpecifications: standard 1M\*1MUnit: PcsQuantity: 10Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |

**LOT 8 - Medical Equipment for Health Centers**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1** | Ambu Bag 0 and 1Specifications: 500 ml Unit: PcsQuantity: 6Expires Date: N/ADelivery: CUAMM Addis Ababa |  Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **2** | Autoclave electricalSpecification: Autoclave machine 24 liter with 2-3tay Specifications: Steam sterilizer 24 liter. 2-3 try, manual closing, inbuilt printer, Digital sterilization cycle recorder (SD & USB), Chamber size: 24 L, over heat protection, Pressure overload protection, Pressure safety valve, and pressure auto- lock, bench top,Unit: pcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa  | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **3** | CBC machine (open system)Specifications: Open system 3-Part Mindray BC-20 Hematology Analyzer CBC Machine Automated, For Laboratory, User Input: Touch nearUnit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **4** | Delivery coachSpecifications: HL-A231A delivery* Bed, labor and delivery, 2 sections.
* All sections fit with padded mattress, detachable from bed for easy cleaning.
* Mattress covers removable via side zipper.

**Body section:** • Mounted on 4 sturdy supports, finished with rubber feet. • Knee crutch holders welded to the frame of the bed. • Crutches are height and width adjustable, set with sturdy clamps with heavy knob. • Leg section • Mounted on swivel castors, of which two with brakes. • This section recesses entirely under body section. • When fully extended, both sections align to perfectly flat surface. **Materials:** • High resistance to corrosion (tropical environment). • Frame: epoxy coated tubular steel. • Sliders/fixtures for the knee crutches: tubular steel, welded to the bed frame. • Recession tracks smoothly finished for easy sliding. • Mattress: high-density polyurethane foam, density approx. 30 kg/m3. • Cover: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid proof, washable. **Dimensions:** • Body section: approx. 1000 x 900 x 750 mm (l x w x h). • Leg section: approx. 900 x 850 x 750 mm (l x w x h). • Frame, diameter: approx. 40 mm. • Swivel castors, diameter: approx. 120mm. • Mattress: approx. 100 mm (h) Carrying capacity: approx. 150kg. **Supplied with:** • 1 x set of tools required for assembly. • 2 x leg holders with canvas straps, adjustable height and width. • 2 x knee crutches, adjustable height and width. • 1 x set fitting mattresses, body and leg section. • List of parts. Unit: PcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **5** | Delivery forceps Specifications: standardlong, medium and shortUnit: pcsQuantity: 5Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **6** | Delivery setSpecifications: with instruments (2 stainless steel kidney dishes, 25 cm1 st.st. Triangular dish (placenta dish)1 st.st. Bowl, 6"1 Mayo scissors, straight, 15cm2 Spencer Well's artery forceps, straight, 20 cm1 Sponge holder, 25 cm1 Cord scissors1 Episiotomy scissors2 Female catheterUnit: pcsQuantity: 4Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **7** | Digital BP apparatusSpecifications: Adult; with power display 4xAAA Batteries or Micro-USB cable, LCD display 60x64mm, Cuff pressure range:0~299 mmHgBlood pressure measurement range: SYS 60-230 mmHg, DIA 40-130 mmHgPulse measurement range: 40-199 beat/min, Cuff type 22-42cm or 22-32cm (optional), Dimensions 100x129x45mm, Type BF applied part and IP21Unit: pcsQuantity: 5Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **8** | Electrical vacuum extractorSpecifications: * A complete Vacuum Delivery System (includes cup, traction and vacuum pump) for **ALL** presentations.
* Vacuum Cup: Modified Bird Cup, 60mm across the widest Part, 50mm at opening.
* Foam filter
* Vacuum Cup Depth: 20mm
* Presentation: Sterile, single use, latex free, presented in a peel pouch, 5 units per case
* Indicators: Flexion point markings at 6cm and 11cm
* Integral vacuum release button
* Integral Palm Pump
* Power demand: 220V ± 10%,
* Certification: CE & FDA certified.

Unit: pcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **9** | Examination LightSpecifications: **Technical Specifications**: • Mobile examination light on heavy sturdy stand, height approx 1.60 m • On 5 (4) antistatic bal-bearing swivel castors • Spring loaded articulating arm • Arm with on/off switch and incorporated electronic transformer • Single lamp with halogen bulb: 12V / 20W • Maximum illumination approx: 20.000 lux (at 40 cm) • Color temperature, approx: 4000 K • Reflector adjustable for positioning • Power supply: 220 V± 10%, 50 Hz • Power consumption: approx: 25 W **Supplied with parts:** 1 x Spare halogen bulb 1 x Spare fuse Clear instructions for use / diagrams for assembly in 3 languages (English, French and Spanish), list of accessories / parts.Unit: pcsQuantity: 2Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **10** | Fetal monitorSpecifications: Medgyn Fetal Monitor F9Designed for the application in the antepartum, intrapartum and postpartum applications. • Suitable for private obstetrician office, antepartum clinic, moving situation or home monitoring situation. It offers most advanced integrated monitoring of fetus and mother. • Twins monitoring capability • Thermal printer or inkjet printer • Support external thermal printer or inkJet printer • Built-in rechargeable battery, DC/AC power supply • Built-in network capability • Large color TFT screen display waveforms and digitals • Maternal Parameters: ECG, SPO2, NIBP, RESP, TEMP • Automatic Fetal Movement Detection, AFM waveform display • 24 hours monitoring data storage and reload • Acceleration and Deceleration measurement ability • Baseline, acceleration and deceleration analysis capability • Easy operation by with shortcut key and rotary knob • Super printing functions • Automatic monitoring mode, parameters configurable • Clinical data management, can be reload, reanalysis, reprint • Visual and audio alarm, comply with international standard • 2 MHz pulse wave • Precision: ±1-2 bpm221 • Electric specification:220/230 V AC: 50Hz • Record differentiated: 30bpm/cm • Temperature: 5℃-40℃ • Brightness LED power supply indicator light • audible and visual alarm • Alarm: upper and lower limit alarm Unit: pcsQuantity: 4Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **11** | GlucometerSpecifications: On Call Plus glucometerFor glucose measurement, a hand-held device, automatic Zero setting between measurementsSample size of 5-10 ul. (capillary, venous or arterial whole blood)Reading time: 10sec-5min supplied with lancets and test strips specifiedUnit: pcsQuantity: 3Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **12** | Glucometer stripSpecifications: On Call Plus glucometer stripUnit: PackQuantity: 20Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **13** | Infant Manual SuctionSpecifications: Penguin manual suctionUnit: pcsQuantity: 4Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **14** | NebulizerSpecifications: portable or a handheld model.Either continuous operation or auto switch off after 20 minutes but allows for immediately restart.For compressor model: air flow at least 5 L/min.Minimum drug nebulization flow greater than: 0.2 ml/min.Integrated drug reservoir with a minimum capacity: 6 ml.Residual volume (not operating below) less than 2 ml.Median Mass Aerodynamic Diameter (MMAD) of particles 2.44 µm.Noise level ≤ 55 dBSturdy construction, suitable to be disinfected with hospital-grade products.Power requirements: 240 Volts - 50/60 Hz (110 Volt available, specify when ordering).Unit: pcsQuantity: 4Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **15** | Oxygen concentratorSpecifications: Device concentrates oxygen from ambient air. • Integrated Oxygen Sensing Device (OSD) measures concentration at flow meter entrance. • Output flow: max 5 LPM (Litre Per Minute) • Flow meter range: 1 to 5 LPM • Output pressure: 60 kPa. • Oxygen concentration: 95% ±3% at 1-3 LPM, 92% ±3% at 4 LPM, 90% ±3% at 5 LPM. 460 • Time to reach 95% the specified performance: 5 minutes. • Four-step filtering (coarse, pre, inlet and bacterial) of air-intake. • All filters replaceable, coarse filter washable/reusable. • Continuous monitoring, with visual and audible alert on: Low and high output pressure and Low oxygen concentration • **Oxygen monitor**: amber light on the front illuminates when oxygen concentrator is below 85%. If concentration remains below 85% for more than 15 minutes, an audible alarm sounds. Power failure and Battery test • Temperature operating range: 20 to 60 C • Relative humidity operating range: up to 99% • Sound level produced: 40 to 50 dB(A) • Power requirements: 220 V, 50 Hz • Power consumption, approx: 500 W **Oxygen concentrator is supplied as a complete set with:** • 1 x Oxygen concentrator • 1 x Power cord • 2 x Adult cannulae, with 2 m tubing. • 4 x Infant cannulae, with 2 m tubing. • 4 x Paediatric cannulae, with 2 m tubing. • 3 x Connector for above. • 4 x Humidifiers. • 4 x 50' tubing. • 4 x Adapter kit. • 1 x Box of 6 coarse filters (spare) • 3 x Pre-filters (spare) • 3 x Inlet-filters (spare) • 3 x Bacterial-filters (spare) • 1 x Instruction manual in 3 languages (English, French, Spanish) • 1 x Service manual in 3 languages (English, French, Spanish). Unit: pcsQuantity: 3Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **16** | Plastic mattressesSpecifications: StandardUnit: pcsQuantity: 10Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **17** | Plastic Vacuum extractor (Manual)Specifications: Complete with interior cups 40,50 & 60mm • Bottom plates and one traction handles386 * With all tubing and accessories

Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **18** | Pregnancy test kitSpecifications: HCGUnit: box of 50 testsQuantity: 30Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **19** | Pulse oximeterSpecifications: Display of oxygen saturation and pulse rate. • Oxygen saturation measurement range from 0 -100%. • Pulse strength perfusion indication • Capability of Plethesomography. • Pulse rate measurement from 20-250 bpm. • Visual and audible indication of alarms. • High and low alarms settings. • Adult finger and pediatric sensor (reusable type) **Power requirements:** • Power of 220 V± 10%, 50 Hz. • Built-in re-chargeable battery Unit: pcsQuantity: 8Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **20** | Radiant warmerSpecifications: Phoenix Infant Radiant warmerMobile freestanding fixed-height overhead radiant warmer • Can be used in combination with a newborn and infant bed • Sturdy and stable construction on 4 antistatic bal-bearing swivel castors, 2 with breaks • Side handles facilitate positioning • Hood integrates heating element and light • Vertical column integrates controls and displays • Overhead exanimation light: 2 x 40 W halogen spot, with dimming function • Heating element: emitter with parabolic reflector protected by metal grid • Preset skin temperature, range approx: 34 to 38 C, increments 0.1 C • Temperature preset drives heater output in servo mode • Easy switch between servo and manual mode • Skin temperature monitoring via sensor, range: 30 to 42 C (sensitivity 0.2 C) • Sensor thermistor based and factory calibrated • Preset heater output: 0 to 100 %, in 10 % increments • Integrated timer, preset: 1 to 59 min with up/down count feature, increments 1 min • Auto-off at time elapse • Audiovisual alarm on skin temperature (+/- 0.1 C of preset value) and time (elapse) • Large LED display shows: Heater output preset in Watt  Mode (servo or manual)  Preset skin temperature  Actual skin temperature  Air temperature  Elapsed or remaining time • Display reports system errors such: sensor malfunction, timer failure, low/high temperature • Dimensions, approx: 0.90 x 0.80 x 1.90 m (l x w x h) • Power requirement: 220 V / 50 Hz • Power consumption, approx: 800 W Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **21** | SterilizerSpecifications: Hot air sterilizer, with automatic sterilization process with timer. **Technical Features**: • Temp. range: 60 0C - 200 0C • Operating time: state min. • Sterilization at 180 0C for: instruments, syringes, etc. • internal dimensions Approximate state • external dimensions: state (w x d x h) • approximately 40 liter • With thermostat and ventilator • Including instrument trays • Power requirements: 220V/50Hz. • Power consumption: state Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |
| **22** | Suction machine Specifications: **suction machine, ELEC, 2 Bottle** **General Description:** Pump, suction, surgical, 2 bottles, with accessories **Technical Specifications**: • Electrical suction pump for use during surgical interventions • With 2 graduated plastic jars autoclavable, each with a capacity of 2 L • On 4 antistatic bal-bearing swivel castors, 2 with breaks • Jars are covered and fitted with overflow valves and antibacterial filters • Suction flow maximum, approx: 60 L/min • Vacuum adjustable from 0 to approx: - 900 mmHg • Control panel fit with analogue vacuum meter, vacuum control button and on/off-switch258 • Foot switch activates actual suction • Provided with handle for easy moving • Rounded design and easy-to-clean casing • Silent operation • Power requirements: 220 V / 50 Hz • Power consumption, approx: 500 W **Supplied with parts:** 3 x Set of silicone tubes (diam: 8 x 14 mm– length approx: 2.5 m) and bi-conical connectors 1 x Spare jar of 2 L with cover, gasket and overflow valve 1 x Set of spare antibacterial filters 1 x Set of spare fuses Supplied with clear instructions / diagrams for use and assembly in English language, and with a list of accessories / parts.Unit: pcsQuantity: 1Expires Date: N/ADelivery: CUAMM Addis Ababa | Specification offered:Unit:Expires Date:Delivery time: (TO BE FILLED) |  |  |