***ANNEXII+III:* TECHNICALSPECIFICATIONS+TECHNICALOFFER**

**Contract title: Supply of Medical Drugs, Reagents, Medical Consumables and Medical Equipment** **p1/…**

**Publication reference:** 53/CUAMM/ETH/2024/AID 05/12282/ETH

**Columns1-2shouldbecompletedbythecontractingauthorityColumns3-4shouldbecompletedbythetenderer**

**Column5isreservedfortheevaluationcommittee**

Annex III- the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column2iscompletedbythecontractingauthorityshowstherequiredspecifications(nottobemodifiedbythetenderer),
* Column3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column4allowsthetenderertomakecommentsonitsproposedsupplyandtomakeeventualreferencestothedocumentation

The eventual documentation supplied should clearly indicate highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the model sand the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

**LOT 1–Drugs for SGH Health Centers**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **1.**  **Item number** | | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** | |
| [**Antibiotic**](https://www.salute-nella-scienza.it/salute/antibiotici.htm)**s** | | | | | | |
| **1** | Adrenaline (Epinephrine)  Specifications: **0.1% in 1ml ampoule –Injection**  Unit: box of 100 ampule  Quantity: 4  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **2** | **Aminophylline**  Specifications: **200mg/10ml injection**  Unit: box of 25 ampule  Quantity: 8  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **3** | Amlodipine  Specifications: 5mg – Tablet  Unit: box of 100 tab  Quantity: 150  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **4** | **Amoxicillin**  Specifications: 500 Capsule  Unit: box of 500 tab  Quantity: 214  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **5** | **Amoxicillin**  Specifications: 250mg/5ml suspension  Unit: box of 100 bottle  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **6** | **Amoxicillin**  Specifications: **250mg – Capsule**  Unit: box of 100  Quantity: 5  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **7** | Amoxicillin + Clavulanic Acid  Specifications: (125mg +31.25mg)/5ml Suspension  Unit: box of 100 bottles  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **8** | **Amoxicillin + Clavulanic Acid**  Specifications: (500mg +125mg) tab  Unit: box of 20 tab  Quantity: 640  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **9** | **Augmentin (amoxicillin + clavulanic acid)**  Specifications: 312.5 mg/5 m  Unit: box of 100 bottles  Quantity: 2  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **10** | Azithromycin  Specifications: 200mg/5ml - Oral Suspension  Unit: box of 100 bottle  Quantity: 4  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **11** | Blood group  Specifications: ABO  Unit: box of 10 vial  Quantity: 5  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **12** | Bupivacaine Hydrochloride  Specifications: **0.2% in 10ml Vial - Injection**  Unit: box of 25 ampule  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **13** | **Cefixime**  Specifications: **400mg – Tablet**  Unit: bottle: Box of 100 tab  Quantity: 5  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **14** | Cefriaxone  Specifications: 1gr im/iv  Unit: box of 10 vial  Quantity: 250  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **15** | **Ceftazidime**  Specifications: 1g in vial - Powder for Injection with Diluent  Unit: box of 10 Vial  Quantity: 150  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **16** | **Cephalexin**  Specifications: 125mg/5ml - Oral Suspension  Unit: box of 100 bottle  Quantity: 4  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **18** | **Cephalexin**  Specifications: 500mg – Capsule  Unit: box of 100 tab  Quantity: 210  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **19** | **Cimetidine**  Specifications: **200mg/ml in 2ml ampoule – Injection**  Unit: box of 10 ampule  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **20** | **Ciprofloxacin**  Specifications: 500mg – Tablet  Unit: box of 100 tablet  Quantity: 200  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **21** | **Clarithromycin**  Specifications: 500 mg film coated tablets  Unit: box of 100 tab  Quantity: 2  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **22** | **Cloxacillin**  Specifications: 500 mg capsule  Unit: box of 500 tab  Quantity: 153  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **23** | **Cloxacillin Sodium**  Specifications: **125mg/5ml - Oral Suspension**  Unit: box of 100 bottle  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **24** | **Dextrose in Water**  Specifications: 5% - Intravenous Infusion with Giving Set  Unit: each 1000ml  Quantity:550  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **25** | **Diclofenac**  Specifications: 75 mg/2 ml injection  Unit: box of 100 ampl  Quantity: 3  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **26** | **Diclofenac Sodium**  Specifications: 25mg/ml in 3ml ampoule - Injection  Unit: box of 100 ampule  Quantity:100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **27** | **Diclofenac Sodium**  Specifications: 50mg – Tablet  Unit: box of 100 tab  Quantity:150  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **28** | **Enalapril Maleate**  Specifications:5mg – Tablet  Unit: box of 100 tablet  Quantity:150  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
|  | Erythromycin Stearate  Specifications:500mg – Tablet  Unit: box of 500  Quantity:6  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **29** | **Ferrous Sulfate + Folic Acid**  Specifications: (150mg +0.5mg) - Tablet (Enteric Coated)  Unit: tin of 1000 tab  Quantity: 4  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **30** | Frusemide  Specifications: 10mg/ml in 2ml ampoule – Injection  Unit: box of 100 ampule  Quantity:100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **31** | Furosemide  Specifications: 40mg tab  Unit: box of 100 tab  Quantity:4  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **32** | Heparin Sulfate  Specifications:5000IU/ml in – Injection  Unit: box of 25 vial  Quantity: 12  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **33** | **Hydralazine**  Specifications: 20mg/ml inj  Unit:box of 25  Quantity: 3  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **34** | **Hydrochlorothiazide**  Specifications: 25mg – Tablet  Unit: box of 100  Quantity: 158  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **35** | **Hydrocortisone**  Specifications: 100 mg Injection  Unit: box of 25 VIAL  Quantity: 8  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **36** | **Hydrocortisone Sodium Succinate**  Specifications: 50mg/ml in 2ml ampoule - Injection  Unit: box of 100  Quantity: 60  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **37** | **Ibuprofen**  Specifications: syrup  Unit: box of 100bottle  Quantity: 3  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **38** | **Insulin Isophane Human**  Specifications: 100IU/ml in 10ml Vial - Injection(Suspension)  Unit: box of 10 vial  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **39** | **Insulin Soluble Human**  Specifications: 100IU/ml in 10ml Vial – Injection  Unit: box of 10 vial  Quantity:100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **40** | **IV canula**  Specifications: 18G  Unit: box of 100  Quantity: 2  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **41** | **IV canula**  Specifications: **22G**  Unit: box of 100  Quantity: 5  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **42** | **Ketamine HCL**  Specifications: 50 mg/ml in 10ml Ampoule Injection – Injection  Unit: box of 100 vial  Quantity: 5  Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **43** | **Lidocaine Hydroloride**  **Specification:2% 1ml injection**  Unit: Box of 25 of 1 ml ampule  Quantity:12  Expires Date: 12 months or longer Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED |  | |  |
| **44** | **Magnesium sulphate**  Specifications: 50% in 20ml inj  Unit: box of 25 ampule  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **45** | **Metformin**  Specifications: 500mg – Tablet  Unit: box of 100  Quantity: 150  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **46** | **Methildopa**  Specifications: **250mg tab**  Unit: box of 100  Quantity: 2  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **47** | **Metoclopramide**  Specifications: 5mg/ml in 2ml – Injection  Unit: box of 100 ampule  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **48** | **Metronidazole**  Specifications:**250mg – Capsule**  Unit: tin of 1000 tab  Quantity: 38  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **49** | Nifedipine  Specifications: 20mg – Tablet  Unit: box of 100  Quantity: 156  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **50** | **Omeprazole**  Specifications:4mg/ml in 10ml – Injection:  Unit: box of 100 vial  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **51** | **Oral Rehydration Salt**  Specifications: 20.7g for 1 Littre Preparation - Powder  Unit: box of 100  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **52** | **Oxitocine**  Specifications: 1mg injection  Unit: box of 10 ampule  Quantity: 40  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **53** | **Pancuronium Bromide**  Specifications: 2 mg/ml in 2ml Injection  Unit: box of 100 vial  Quantity:5  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **54** | **Paracetamol**  Specifications: 125 mg suppository  Unit: box 100 supp  Quantity: 2  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **55** | **Propylthiouracil**  Specifications: 50mg - Tablet (Scored)  Unit: box of 100 tablet  Quantity: 30  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **56** | **Ringer's Solution**  Specifications: Each contains Na+ 147mEqIntravenous Infusion  Unit: box of 12 bags  Quantity: 700  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | | 1 |
| **57** | **RPR**  Specifications: test kit  Unit: Box 30 kit  Quantity: 10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **58** | **Salbutamol (Albuterol)**  Specifications: 2mg/5ml – Syrup  Unit: each 100 ml bottle  Quantity: 150  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **58** | **Salbutamol**  Specifications: Oral Inhaler  Unit: Each 200mp  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **59** | **Sodium Chloride (Normal Saline)**  Specifications: 0.009 - Intravenous Infusion  Unit: box of 12 bags  Quantity: 600  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **60** | **Spironolactone**  Specifications:25mg – Tablet  Unit: box of 100 tab  Quantity:105  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **62** | **Surgical glove powdered**  Specifications: 7.5 cm  Unit: Box of 50  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **63** | **Suxamethonium Chloride (Succinylcholine)**  Specifications: 50 mg/ml in 10ml injection  Unit: box of 25 Vial  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **64** | **Syringe (Disposable)**  Specifications: 10ml with Needle21G  Unit: box of 100  Quantity: 40  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **65** | **Tramadol HCl**  Specifications:50mg/ml in 2ml - Injection  Unit: box of 100 Amp  Quantity: 50  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **66** | **Ultrasound jel**  Specifications: 5k  Unit: each 5liter  Quantity:10  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **67** | **Vancomycin**  Specification; 1gm – Injection  Unit: box of 100 vial  Quantity: 60  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **68** | **Vecuronium Bromide**  Specification; 10 mg in vial  Unit: box of 25 vial  Quantity: 70  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **69** | **Vitamin B12 (Cyanocobalamin)**  Specification; 1000mcg/ml in 1ml ampoule - Injection  Unit: box of 25 ampule  Quantity:16  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **70** | **Vitamine K**  Specification; 1mg inj  Unit: box of 30 amp  Quantity:20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |

**LOT 2 - Laboratory Reagents for SGH**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | **Alanine Aminotransferase**  Specifications:ALT (Serum Glutamic Pyruvic Trans SGPT)  Unit: 200ml  Quantity: 50  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Clinical Chemistry**  Specifications: Albumin Liqucolor  Unit: 300 ml  Quantity: 50  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | Clinical Chemistry  Specifications: Alfa Amylase  Unit: 100ml  Quantity: 50  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED)Date: |  |  |
| **4** | **Clinical Chemistry**  Specifications: Alkaline Phosphatase (ALP)  Unit:100ml  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Aspartate Aminotransferase**  Specifications: AST (Serum Glutamic Oxaloacet SGOT)  Unit: 200ml  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Bilirubin**  Specifications: Direct(BILD)  Unit: 160ml  Quantity:30  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | **Bilirubin**  Specifications: Total (BILT)  Unit: 10x10ml  Quantity: 20  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Blood Urea Nitrogen**  Specifications: BUN (Urea)  Unit: 200ml  Quantity: 20  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Control**  Specifications: Normal (N)  Unit:10x5ml  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Control**  Specifications: Pathological (P)  Unit: 30ml  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **Creatinine Kinase**  Specifications: (CPK) Total  Unit: 4x10ml  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | **Clinical Chemistry**  Specifications: **Multipara Serum Calibrator**  Unit: 10x3ml  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | Serology  Specifications:  **Helicobacter Pylori (H. Pylori) Antigen Test Strip**  Unit: 50 tests  Quantity: 50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | Serology  Specifications:  **Hepatitis BsAg Test Cassette**  Unit:30tests  Quantity:150  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **15** | Serology  Specifications:  Hepatitis C Antibody Test Cassette  Unit: 40tests  Quantity: 150  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **16** | Serology  Specifications: **Proteus OX-19 Antigen**  Unit: 5ml  Quantity: 50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **17** | Serology  Specifications: **Rapid Plasma Ragin-RPR (Venereal Disease Research Laboratory-VDRL)**  Unit:100tests  Quantity: 50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **18** | Serology  Specifications: Rheumatoid Factor (RF) Test Slide  Unit: 50 tests  Quantity: 50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **19** | Serology  Specifications: Salmonella Typhi "H" + Salmonella Typhi "O" Antigen (Widal) Test, agglutination method  Unit: 2x5ml  Quantity:50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **20** | Urine Dipstick  Specifications:**10 Parameters (Blood, Bilirubin, Urobilinogen, Ketone, Protein, Nitrite, Glucose, PH, Specific Gravity, Leucocytes)**  Unit:100 tests  Quantity:100  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **21** | Micropipette tips  Specifications:**10-200 µl**  Unit: 1000  Quantity:20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **22** | Micropipette tips  Specifications:200-1000 µl  Unit: 1000  Quantity:20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **23** | Pasteur pipette (plastic) non  Specifications:sterile 3ml  Unit: 500  Quantity: 50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **24** | Urine cup plastic  Specifications: 40ml capacity  Unit:1000  Quantity: 50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **25** | Vacutainer blood collector tube EDTA anti-coagulant purple top  Specifications:4ml  Unit:100  Quantity: 200  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **26** | Vacutainer blood collector tube with citrated anti-coagulant blue top  Specifications:4ml  Unit:100  Quantity:50  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **27** | Vacutainer blood collector tube vacuum red top  Specifications: 10ml  Unit:100  Quantity: 50  Expires Date:12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 3 - Medical Supply for SGH**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | Adhesive Plaster Zinc Oxide  Specification:12.5cmx10m  Unit: Roll  Quantity:50  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Cannula Intravenous Set**  Specification: 22G  Unit: Box of 100 cannula  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | Cat Gut Chromic  Specification: Gauge (4/0) 75cm on 15mm 1/2 Circle Cutting  Unit: box of 12 cut gut  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | Cat Gut Chromic  Specification:Gauge 3.0(3/0) 75cm on 25 mm ½ Circle Round  Unit: box of 12 cut gut  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | **Catheter Foley Siliconized Latex Three Ways**  Specification: 30-50ml Balloon 18CH  Unit: box of 10  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | Catheter Foley Siliconized Latex Two Ways  Specification: 30-50ml Balloon 16CH  Unit: box 10  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | Cotton Absorbent Wool  Specification: 100gm  Unit: box of 100  Quantity: 10  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Cotton Absorbent Wool**  Specification: 500gm  Unit: Roll  Quantity:100  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Gauze Surgical**  Specification:90cmx100m mesh size 19x15  Unit: Roll  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Glove Examination Latex Non Powdered**  Specification: Medium  Unit: box of 100  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **Glove Surgical Latex Powder -Free Sterile**  Specification: No.7.5  Unit: box of 50  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | **Mersilk Braided Black**  Specification: Gauge 2.0 (1) 75cm on 26 mm ½ Circle Reverse Cutting  Unit: Dozen  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | **Mersilk Braided Black**  Specification: Gauge 2.0 (3/0) 75cm on 26 mm ½ Cutting  Unit: Dozen  Quantity: 100  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | **Naso-gastric Tube Sterile Infant**  Specification: 4CH  Unit: BOX 100  Quantity: 15  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **15** | Polyglycolic Acid Absorbable Braided Violet  Specification: Gauge 2.0(3/0) Round  Unit: Dozen  Quantity:60  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **16** | **Polyglycolic Acid Absorbable Braided Violet**  Specification: Gauge 1.5(4/0) Round  Unit: Dozen  Quantity: 60  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **17** | **Polyglycolic Acid Absorbable Braided Violet**  Specification: Gauge3.0(2/0) Round  Unit: Dozen  Quantity:60  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **18** | **Polyglycolic Acid Absorbable Braided Violet**  Specification: Gauge3.5(0) 75 Round  Unit: Dozen  Quantity: 60  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **19** | **Polyglycolic Acid Absorbable Braided Violet**  Specification: Gauge4.0(1) Cutting  Unit: Dozen  Quantity: 60  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **20** | **Polyglycolic Acid Absorbable Braided Violet**  Specification: Gauge 4.0(1) Round  Unit: Dozen  Quantity: 60  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **21** | **Spinal Needle 6cm**  Specification: 21G  Unit: BOX OF 25  Quantity:40  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **22** | **Spinal Needle 8cm**  Specification:22G  Unit: BOX OF 25  Quantity: 40  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **23** | **Syringe (Disposable)**  Specification: 10ml with Needle21G  Unit: BOX OF 100  Quantity: 50  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **24** | **Syringe Insulin (Disposable)**  Specification:1ml on 6mm with Fixed Needle30G  Unit: BOX OF 100  Quantity:50  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **25** | **Tracheostomy Tube**  Specification:4.5 mm with 90 curvature armored with low Pressure Cuff Universal inflation funnel and pilot balloon  Unit: Each  Quantity:50  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **26** | **mbilical Clamp Sterile**  Specification**: 5.3cm**  Unit: BOX OF 100  Quantity:100  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **27** | **Urine Collecting Bag PVC Latex Product**  **Specification: 1000ml**  Unit: BOX OF 25  Quantity:100  Expires Date: 48 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 4– Psychotropic SGH Health Centers**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| **1** | Amitriptyline  Specification: 25mg – Tablet  Unit: box of 100 tablet  Quantity: 50  Expires Date: 36 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | **Benzhexol (Trihexyphenidyl HCL)**  Specification: 5mg - Tablet  Unit: box of 100 tablet  Quantity:25  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | Carbamazepine  Specification: 200mg – Tablet  Unit: box of 100 tablet  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | **Chlorpromazine Hydrochloride**  Specification: 25mg -Tablet  Unit: box of 100 tablet  Quantity: 12  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | Chlorpromazine Hydrochloride  Specification: 25mg/2ml Injection  Unit: box of 50 vial  Quantity:12  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | **Diazepam**  Specification:5 mg/ml in 2ml Injection  Unit: box of 100 vial  Quantity: 50  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | Haloperidol  Specification:5mg – Tablet  Unit: box of 100 tablet  Quantity: 12  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | **Phenobarbitone (Phenobarbital)**  Specification: 100mg - Tablet  Unit: box of 100 tablet  Quantity: 20  Expires Date: 12 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | **Phenytoin (Diphenhydantoin)**  Specification: 100mg - Tablet  Unit: box of 100 tablet  Quantity: 20  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | **Risperidone**  Specification: 2mg tab  Unit: box of 100 tablet  Quantity: 30  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | **Sodium Valproate**  Specification: 200mg – Tablet  Unit: box of 100  Quantity: 18  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | **Sodium Valproate**  Specification:500mg – Tablet  Unit: box of 100  Quantity: 6  Expires Date: 24 months or more  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 5–Endabagna CEmONC drugs**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **1.**  **Item number** | | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** | |
| **1** | Amoxicillin  Specifications: 500 mg capsule  Unit: box of 500 tab  Quantity:20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **2** | **Ampicillin Sodium**  Specifications: 500 mg for injection IM/IV  Unit: box of 10 vial  Quantity: 20  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **3** | Augmentin (amoxicillin and clavulanic acid)  Specifications:625 mg  Unit: box of 20 tab  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **4** | **Azithromycin**  Specifications: 500 mg tablet  Unit: box of 30 tab  Quantity:100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **5** | **Ceftriaxone**  Specifications: 1 g injection  Unit: box of 10 vial  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **6** | **Ferrous Sulfate + Folic Acid**  Specifications: (150mg +0.5mg) - Tablet (Enteric Coated)  Unit: Tin of 1000 tab  Quantity: 6  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **7** | **Methildopa**  Specifications:250mg tab  Unit: box of 100 tab  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **8** | **Metronidazole**  Specifications:5mg/ml - Intravenous Infusion  Unit: Each of 100ml  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **9** | **Nifedipine**  Specifications: 20 mg tab  Unit: box of 100 tab  Quantity: 100  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **10** | Ringer  Specifications: Lactate  Unit: Each 1000ML  Quantity: 300  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **11** | Sodium Chloride (Normal Saline)  Specifications:0.9% Intravenous Infusion  Unit: Each 1000ml  Quantity: 500  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |
| **12** | Vancomycin hydrochloride  Specifications: 500 mg for injection  Unit: box of 100 vial  Quantity: 2  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa | | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  | |  |

**LOT 6 – Endabaguna CEmONC Equipment**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1** | Delivery Coach  Specifications: HL-A231A delivery coach   * Bed, labour and delivery, 2 sections. * All sections fit with padded mattress, detachable from bed for easy cleaning. * Mattress covers removable via side zipper.   **Body section:**  • Mounted on 4 sturdy supports, finished with rubber feet.  • Knee crutch holders welded to the frame of the bed.  • Crutches are height and width adjustable, set with sturdy clamps with heavy knob.  • Leg section  • Mounted on swivel castors, of which two with brakes.  • This section recesses entirely under body section.  • When fully extended, both sections align to perfectly flat surface.  **Materials:**  • High resistance to corrosion (tropical environment).  • Frame: epoxy coated tubular steel.  • Sliders/fixtures for the knee crutches: tubular steel, welded to the bed frame.  • Recession tracks smoothly finished for easy sliding.  • Mattress: high-density polyurethane foam, density approx. 30 kg/m3.  • Cover: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid proof, washable.  **Dimensions:**  • Body section: approx. 1000 x 900 x 750 mm (l x w x h).  • Leg section: approx. 900 x 850 x 750 mm (l x w x h).  • Frame, diameter: approx. 40 mm.  • Swivel castors, diameter: approx. 120mm.  • Mattress: approx. 100 mm (h)  Carrying capacity: approx. 150kg.  **Supplied with:**  • 1 x set of tools required for assembly.  • 2 x leg holders with canvas straps, adjustable height and width.  • 2 x knee crutches, adjustable height and width.  • 1 x set fitting mattresses, body and leg section.  • List of parts.  Unit: Pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | Abdominal Retractor  Specification: Balfour 10 self-retaining retractor  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | Basic Laparotomy set  Specifications: 108-Piece Basic Laparotomy set(can be packed in different number of pieces)   |  |  | | --- | --- | | Instrument tray, wire mesh, 48 x 24 x 5 cm, S/S |  | | Forceps, artery, Kocher, curved, 26 cm |  | | Forceps, hysterectomy, Maingot, curved, 24 cm |  | | Abdominal Retractor, Doyen, 120 x 45 mm |  | | Mayo safety pin  Towel Clip | |   Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | Cesarean Section set  Specifications: can be packed in different pieces   |  |  | | --- | --- | | Instrument tray, wire mesh, 48 x 24 x 5 cm, S/S |  | | Forceps, uterine haemostasis, Green-Armytage |  | | Forceps, obstetric, Wrigley, 23 cm |  | | Forceps, obstetric, Simpson-Braun, 33 cm |  | | Speculum, vaginal, Graves, medium | |   Unit: Pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | CPAP  Specifications: Electrically powered, electronically controlled, volume cycled lung ventilator.  • Volume and Pressure control ventilation  • Pressure support  • Back up ventilation  • PEEP /CPAP ventilation  • Comprehensive Alarms and monitoring  • Digital read-outs for temperature, oxygen percentage and respiration rate  • Gas delivery system by internal air source, built in compressor  • Humidifier for extended ventilation  • Air Oxygen mixer  • On mobile stand with support arm and place for 2 bottle  • Built-in battery back up to 8 hours  • Power requirements 100-240 VAC, 50/60Hz 12-30 VDC  • Power consumption: 250 W  • Dimensions approx. 0.5 x 0.5 x 1.2m  **Material :** Various composite materials  **Packaging and labelling :**  • Primary packaging : Unit of use  • One (1) unit in crate, packed with manufacturer's instruction for use  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | Deaver Retractor  Specifications: Retractor, Deaver, 50 mm, 30 cm  Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | Delivery set  Specifications: with instruments (2 stainless steel kidney dishes, 25 cm  1 st.st. Triangular dish (placenta dish)  1 st.st. Bowl, 6"  1 Mayo scissors, straight, 15  cm  2 Spencer Well's artery forceps, straight, 20 cm  1 Sponge holder, 25 cm  1 Cord scissors  1 Episiotomy scissors  2 Female catheter  Unit: pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | Fetal Monitor  Specifications: Medgyn Fetal Monitor F9  Designed for the application in the antepartum, intrapartum and postpartum applications.  • Suitable for private obstetrician office, antepartum clinic, moving situation or home monitoring situation. It offers most advanced integrated monitoring of fetus and mother.  • Twins monitoring capability  • Thermal printer or inkjet printer  • Support external thermal printer or inkJet printer  • Built-in rechargeable battery, DC/AC power supply  • Built-in network capability  • Large color TFT screen display waveforms and digitals  • Maternal Parameters: ECG, SPO2, NIBP, RESP, TEMP  • Automatic Fetal Movement Detection, AFM waveform display  • 24 hours monitoring data storage and reload  • Acceleration and Deceleration measurement ability  • Baseline, acceleration and deceleration analysis capability  • Easy operation by with shortcut key and rotary knob  • Super printing functions  • Automatic monitoring mode, parameters configurable  • Clinical data management, can be reload, reanalysis, reprint  • Visual and audio alarm, comply with international standard  • 2 MHz pulse wave  • Precision: ±1-2 bpm  221  • Electric specification:220/230 V AC: 50Hz  • Record differentiated: 30bpm/cm  • Temperature: 5℃-40℃  • Brightness LED power supply indicator light  • audible and visual alarm  • Alarm: upper and lower limit alarm  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | Glucometer  Specifications: On Call Plus glucometer  For glucose measurement, a hand-held device, automatic Zero setting between measurements  Sample size of 5-10 ul. (capillary, venous or arterial whole blood)  Reading time: 10sec-5min supplied with lancets and test strips specified  Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | Glucometer Test strip  Specifications: On Call Plus glucometer strip  Unit: pack of 50 pcs  Quantity: 10  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | Incubator  Specifications: fanem 1186 incubator  Basic automatic double wall incubator for neonatal care  • Sturdy and stable construction on 4 antistatic bal-bearing swivel castors, 2 with breaks  • Integrated base cabinet with 2 drawers  • Fit with canopy, approx: 90 x 55 x 45 cm (l x w x h)  • Front panel: inclined side, with large door, with 2 port holes  • Rear: 2 port holes  • Apertures for tubes: 4  • Silent window panel rotation and closing system  • Fixed tray with tilt position, approx: +/- 10 degree  • Moulded corrosion resistant under-deck  • Construction allows frequent dismantling for cleaning and disinfection  • Side handle facilitates positioning  • Protection rail and accessories support on 4 sides  • Monitor console/platform provision to fit vital monitor or pulse oximeter  • Fit with support for 10 L oxygen cylinder  Incubator performance characteristics:  • Servo temperature control: electronic (thermistor based)  • Temperature control modes: air and skin  • Air temperature setting, approx: 28.0 to 39.0 C, increments 0.5 C  • Accuracy air temperature monitoring sensor: ± 0.1 C Skin temperature setting, approx: 35.0 to 38.0 C, increments 0.5 C  • Accuracy skin temperature monitoring sensor: ± 0.1 C Warm-up time to 37ºC and stabilize, approx: 20 min (starting at 20 C)  Sound level inside incubator: < 45 dB(A)  Air velocity over the bed: < 25 cm/sec  Air filter capacity at inlet: 99 % (for > 0.5 um)  • Incubator performance monitoring:  Self-diagnosis with each start-up  Integrity testing of all system parameters every 5 minutes Large display shows operation with set and measured values  Permanent automatic verification of temperature probes and heating devices Audible visual alarms for: skin temperature low and high, air temperature low and high, air failure (fan), heater failure, failure air and skin probe, temperature > 39 C in any mode, power failure, canopy open, control module open and circuit fault, safety availability testing  • Power requirements: 220 V / 50 Hz  • Power consumption, approx: 800 W  **Supplied with:**  1 x Spare set of skin probes 1 x IV pole with rail fixation clamp 3 x Spare set of air filters 1 x Set of spare fuses  Clear instructions for use / diagrams for assembly in 3 languages (English, French and Spanish), list of accessories / parts.  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | Manual suction for neonates  Specifications: Penguin manual suction  Unit: Pcs  Quantity: 6  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | Mattress  Specifications: Plastic, Standard  Unit: pcs  Quantity: 13  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | Neonatal size nasal prong  Specifications: ONTEX Oxygen Nasal Cannula Pediatrics Size (xxs)-30  Size (xs)-30  Unit: pcs  Quantity: 60  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **15** | Oxygen concentrator  Specifications: LONGFIAN JAY 10 Dual Oxygen Concentrator  Integrated Oxygen Sensing Device (OSD) measures concentration at flow meter entrance.  • Output flow: max 5 LPM (Litre Per Minute)  • Flow meter range: 1 to 5 LPM  • Output pressure: 60 kPa.  • Oxygen concentration: 95% ±3% at 1-3 LPM, 92% ±3% at 4 LPM, 90% ±3% at 5 LPM.  460  • Time to reach 95% the specified performance: 5 minutes.  • Four-step filtering (coarse, pre, inlet and bacterial) of air-intake.  • All filters replaceable, coarse filter washable/reusable.  • Continuous monitoring, with visual and audible alert on: Low and high output pressure and Low oxygen concentration  • **Oxygen monitor**: amber light on the front illuminates when oxygen concentrator is below 85%. If concentration remains below 85% for more than 15 minutes, an audible alarm sounds. Power failure and Battery test  • Temperature operating range: 20 to 60 C  • Relative humidity operating range: up to 99%  • Sound level produced: 40 to 50 dB(A)  • Power requirements: 220 V, 50 Hz  • Power consumption, approx: 500 W  **Oxygen concentrator is supplied as a complete set with:**  • 1 x Oxygen concentrator  • 1 x Power cord  • 2 x Adult cannula, with 2 m tubing.  • 4 x Infant cannula, with 2 m tubing.  • 4 x Pediatric cannulas, with 2 m tubing.  • 3 x Connector for above.  • 4 x Humidifiers.  • 4 x 50' tubing.  • 4 x Adapter kit.  • 1 x Box of 6 coarse filters (spare)  • 3 x Pre-filters (spare)  • 3 x Inlet-filters (spare)  • 3 x Bacterial-filters (spare)  • 1 x Instruction manual in 3 languages (English, French, Spanish)  • 1 x Service manual in 3 languages (English, French, Spanish).  **Packaging and labelling:**  • Unit presentation: 1 (one) Oxygen concentrator with accessories and instruction guidelines  • Labelling on the primary packaging:  • Manufacturer's name and logo.  • Manufacturer's product reference.  • Manufacture and expiry date, lot number (if applicable)  • Main characteristics (dimensions, capacity)  • Recommended storage conditions (if applicable)  • Information for handling (if applicable)  • Weight/Volume:  • Estimated Weight:  • Estimated Volume:  **Accessories/Spare parts/Consumables:**  S0002052 Flow splitte, for oxygen concentrator.  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **16** | Pediatrics Nasal Prong  Specifications: ONTEX Oxygen Nasal Cannula Pediatrics Size(S)  Unit: pcs  Quantity: 50  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **17** | Pulse oximeter  Specifications: Display of oxygen saturation and pulse rate.  • Oxygen saturation measurement range from 0 -100%.  • Pulse strength perfusion indication  • Capability of Plethesomography.  • Pulse rate measurement from 20-250 bpm.  • Visual and audible indication of alarms.  • High and low alarms settings.  • Adult finger and pediatric sensor (reusable type)  **Power requirements:**  • Power of 220 V± 10%, 50 Hz.  • Built-in re-chargeable battery  Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **18** | Radiant warmer  Specifications: Phoenix Infant Radiant warmer  Mobile freestanding fixed-height overhead radiant warmer  • Can be used in combination with a newborn and infant bed  • Sturdy and stable construction on 4 antistatic bal-bearing swivel castors, 2 with breaks  • Side handles facilitate positioning  • Hood integrates heating element and light  • Vertical column integrates controls and displays  • Overhead exanimation light: 2 x 40 W halogen spot, with dimming function  • Heating element: emitter with parabolic reflector protected by metal grid  • Preset skin temperature, range approx: 34 to 38 C, increments 0.1 C  • Temperature preset drives heater output in servo mode  • Easy switch between servo and manual mode  • Skin temperature monitoring via sensor, range: 30 to 42 C (sensitivity 0.2 C)  • Sensor thermistor based and factory calibrated  • Preset heater output: 0 to 100 %, in 10 % increments  • Integrated timer, preset: 1 to 59 min with up/down count feature, increments 1 min  • Auto-off at time elapse  • Audiovisual alarm on skin temperature (+/- 0.1 C of preset value) and time (elapse)  • Large LED display shows: Heater output preset in Watt  Mode (servo or manual)   Preset skin temperature   Actual skin temperature   Air temperature   Elapsed or remaining time  • Display reports system errors such: sensor malfunction, timer failure, low/high temperature  • Dimensions, approx: 0.90 x 0.80 x 1.90 m (l x w x h)  • Power requirement: 220 V / 50 Hz  • Power consumption, approx: 800 W  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **19** | Suction machine  Specifications: Plastic Yuwell 7A Electric Suction Machine  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **20** | Ultrasound  Specifications: **GYN/OBS Ultrasound Machine**  **Description:** Ultrasound Machine OB/GYN Vasc Cardiac, with doppler capability  Important features and details.  • Studies performed: Pulsed, CW, Color, Doppler, M Mode, 2D  • Ultrasound VCR included  • Machine based with sector probe options (software package), frequency 3-5Mhz  • Video Printer included Cardiac & Vascular Calculation Packages  • Micro fine Grayscale Imaging  • Adaptive Image Processing  • Real-time Compound Imaging  • Integrated Stress Echo Package  • Color Doppler, Color Angio & Colorization  • Spectral Steered PW & CW Doppler  • Tissue Doppler Imaging  • M-Mode  • Automated Patient Atomization  • Cineloop Review & High Definition Zoom  • ECG  • High Resolution Non-Interlaced Monitor  **Additional acesasaryies**  • Curved Array Convex Transducer  • Convex abdominal Transducer  • Curved Array Convex Transducer  • 4V 8-4Mhz Broadband Curved array Endovaginal Transducer  • 0-9.0Mhz Endovaginal Transducer  • Linear approximately 38mm Transducer, /describe size  Linear approximately 38mm Transducer, /describe size  • Phased Array Cardiac Transducer,  • Phased Array Cardiac Sector Transducer,  • General Purpose Sector Transducer,  • Pediatric Cardiac Sector Transducer,  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 7–Endabaguna Clothing PPE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1** | Apron  Specifications: Apron plastic, Washable and reusable, DENIM BIB Apron (5 medium and 5 large)  Unit: Pcs  Quantity: 10  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | Gown  Specifications: Reusable, cotton, with CUAMM logo, Boshi operation theatre gown  10 men – (5 medium sized and 5 small sized)  10 female-( 5 small and 5 medium)  Unit: pcs  Quantity: 20  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | OR Shoes  Specifications: standard - 10 for men – (5 small  5 medium), 10 for female (5 small and 5 medium)  Unit: Pairs  Quantity: 20  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | Rubber sheet  Specifications: standard 1M\*1M  Unit: Pcs  Quantity: 10  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |

**LOT 8 - Medical Equipment for Health Centers**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1** | Ambu Bag 0 and 1  Specifications: 500 ml  Unit: Pcs  Quantity: 6  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **2** | Autoclave electrical  Specification: Autoclave machine 24 liter with 2-3tay Specifications: Steam sterilizer 24 liter. 2-3 try, manual closing, inbuilt printer, Digital sterilization cycle recorder (SD & USB), Chamber size: 24 L, over heat protection, Pressure overload protection, Pressure safety valve, and pressure auto- lock, bench top,  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **3** | CBC machine (open system)  Specifications: Open system 3-Part Mindray BC-20 Hematology Analyzer CBC Machine Automated, For Laboratory, User Input: Touch near  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **4** | Delivery coach  Specifications: HL-A231A delivery   * Bed, labor and delivery, 2 sections. * All sections fit with padded mattress, detachable from bed for easy cleaning. * Mattress covers removable via side zipper.   **Body section:**  • Mounted on 4 sturdy supports, finished with rubber feet.  • Knee crutch holders welded to the frame of the bed.  • Crutches are height and width adjustable, set with sturdy clamps with heavy knob.  • Leg section  • Mounted on swivel castors, of which two with brakes.  • This section recesses entirely under body section.  • When fully extended, both sections align to perfectly flat surface.  **Materials:**  • High resistance to corrosion (tropical environment).  • Frame: epoxy coated tubular steel.  • Sliders/fixtures for the knee crutches: tubular steel, welded to the bed frame.  • Recession tracks smoothly finished for easy sliding.  • Mattress: high-density polyurethane foam, density approx. 30 kg/m3.  • Cover: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid proof, washable.  **Dimensions:**  • Body section: approx. 1000 x 900 x 750 mm (l x w x h).  • Leg section: approx. 900 x 850 x 750 mm (l x w x h).  • Frame, diameter: approx. 40 mm.  • Swivel castors, diameter: approx. 120mm.  • Mattress: approx. 100 mm (h)  Carrying capacity: approx. 150kg.  **Supplied with:**  • 1 x set of tools required for assembly.  • 2 x leg holders with canvas straps, adjustable height and width.  • 2 x knee crutches, adjustable height and width.  • 1 x set fitting mattresses, body and leg section.  • List of parts.  Unit: Pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **5** | Delivery forceps  Specifications: standard  long, medium and short  Unit: pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **6** | Delivery set  Specifications: with instruments (2 stainless steel kidney dishes, 25 cm  1 st.st. Triangular dish (placenta dish)  1 st.st. Bowl, 6"  1 Mayo scissors, straight, 15  cm  2 Spencer Well's artery forceps, straight, 20 cm  1 Sponge holder, 25 cm  1 Cord scissors  1 Episiotomy scissors  2 Female catheter  Unit: pcs  Quantity: 4  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **7** | Digital BP apparatus  Specifications: Adult; with power display 4xAAA Batteries or Micro-USB cable, LCD display 60x64mm, Cuff pressure range:0~299 mmHg  Blood pressure measurement range: SYS 60-230 mmHg, DIA 40-130 mmHg  Pulse measurement range: 40-199 beat/min, Cuff type 22-42cm or 22-32cm (optional), Dimensions 100x129x45mm, Type BF applied part and IP21  Unit: pcs  Quantity: 5  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **8** | Electrical vacuum extractor  Specifications:   * A complete Vacuum Delivery System (includes cup, traction and vacuum pump) for **ALL** presentations. * Vacuum Cup: Modified Bird Cup, 60mm across the widest Part, 50mm at opening. * Foam filter * Vacuum Cup Depth: 20mm * Presentation: Sterile, single use, latex free, presented in a peel pouch, 5 units per case * Indicators: Flexion point markings at 6cm and 11cm * Integral vacuum release button * Integral Palm Pump * Power demand: 220V ± 10%, * Certification: CE & FDA certified.   Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **9** | Examination Light  Specifications: **Technical Specifications**:  • Mobile examination light on heavy sturdy stand, height approx 1.60 m  • On 5 (4) antistatic bal-bearing swivel castors  • Spring loaded articulating arm  • Arm with on/off switch and incorporated electronic transformer  • Single lamp with halogen bulb: 12V / 20W  • Maximum illumination approx: 20.000 lux (at 40 cm)  • Color temperature, approx: 4000 K  • Reflector adjustable for positioning  • Power supply: 220 V± 10%, 50 Hz  • Power consumption: approx: 25 W  **Supplied with parts:**  1 x Spare halogen bulb  1 x Spare fuse  Clear instructions for use / diagrams for assembly in 3 languages (English, French and Spanish), list of accessories / parts.  Unit: pcs  Quantity: 2  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **10** | Fetal monitor  Specifications: Medgyn Fetal Monitor F9  Designed for the application in the antepartum, intrapartum and postpartum applications.  • Suitable for private obstetrician office, antepartum clinic, moving situation or home monitoring situation. It offers most advanced integrated monitoring of fetus and mother.  • Twins monitoring capability  • Thermal printer or inkjet printer  • Support external thermal printer or inkJet printer  • Built-in rechargeable battery, DC/AC power supply  • Built-in network capability  • Large color TFT screen display waveforms and digitals  • Maternal Parameters: ECG, SPO2, NIBP, RESP, TEMP  • Automatic Fetal Movement Detection, AFM waveform display  • 24 hours monitoring data storage and reload  • Acceleration and Deceleration measurement ability  • Baseline, acceleration and deceleration analysis capability  • Easy operation by with shortcut key and rotary knob  • Super printing functions  • Automatic monitoring mode, parameters configurable  • Clinical data management, can be reload, reanalysis, reprint  • Visual and audio alarm, comply with international standard  • 2 MHz pulse wave  • Precision: ±1-2 bpm  221  • Electric specification:220/230 V AC: 50Hz  • Record differentiated: 30bpm/cm  • Temperature: 5℃-40℃  • Brightness LED power supply indicator light  • audible and visual alarm  • Alarm: upper and lower limit alarm  Unit: pcs  Quantity: 4  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **11** | Glucometer  Specifications: On Call Plus glucometer  For glucose measurement, a hand-held device, automatic Zero setting between measurements  Sample size of 5-10 ul. (capillary, venous or arterial whole blood)  Reading time: 10sec-5min supplied with lancets and test strips specified  Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **12** | Glucometer strip  Specifications: On Call Plus glucometer strip  Unit: Pack  Quantity: 20  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **13** | Infant Manual Suction  Specifications: Penguin manual suction  Unit: pcs  Quantity: 4  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **14** | Nebulizer  Specifications: portable or a handheld model. Either continuous operation or auto switch off after 20 minutes but allows for immediately restart. For compressor model: air flow at least 5 L/min. Minimum drug nebulization flow greater than: 0.2 ml/min. Integrated drug reservoir with a minimum capacity: 6 ml. Residual volume (not operating below) less than 2 ml. Median Mass Aerodynamic Diameter (MMAD) of particles 2.44 µm. Noise level ≤ 55 dB Sturdy construction, suitable to be disinfected with hospital-grade products. Power requirements: 240 Volts - 50/60 Hz (110 Volt available, specify when ordering).  Unit: pcs  Quantity: 4  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **15** | Oxygen concentrator  Specifications: Device concentrates oxygen from ambient air.  • Integrated Oxygen Sensing Device (OSD) measures concentration at flow meter entrance.  • Output flow: max 5 LPM (Litre Per Minute)  • Flow meter range: 1 to 5 LPM  • Output pressure: 60 kPa.  • Oxygen concentration: 95% ±3% at 1-3 LPM, 92% ±3% at 4 LPM, 90% ±3% at 5 LPM.  460  • Time to reach 95% the specified performance: 5 minutes.  • Four-step filtering (coarse, pre, inlet and bacterial) of air-intake.  • All filters replaceable, coarse filter washable/reusable.  • Continuous monitoring, with visual and audible alert on: Low and high output pressure and Low oxygen concentration  • **Oxygen monitor**: amber light on the front illuminates when oxygen concentrator is below 85%. If concentration remains below 85% for more than 15 minutes, an audible alarm sounds. Power failure and Battery test  • Temperature operating range: 20 to 60 C  • Relative humidity operating range: up to 99%  • Sound level produced: 40 to 50 dB(A)  • Power requirements: 220 V, 50 Hz  • Power consumption, approx: 500 W  **Oxygen concentrator is supplied as a complete set with:**  • 1 x Oxygen concentrator  • 1 x Power cord  • 2 x Adult cannulae, with 2 m tubing.  • 4 x Infant cannulae, with 2 m tubing.  • 4 x Paediatric cannulae, with 2 m tubing.  • 3 x Connector for above.  • 4 x Humidifiers.  • 4 x 50' tubing.  • 4 x Adapter kit.  • 1 x Box of 6 coarse filters (spare)  • 3 x Pre-filters (spare)  • 3 x Inlet-filters (spare)  • 3 x Bacterial-filters (spare)  • 1 x Instruction manual in 3 languages (English, French, Spanish)  • 1 x Service manual in 3 languages (English, French, Spanish).  Unit: pcs  Quantity: 3  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **16** | Plastic mattresses  Specifications: Standard  Unit: pcs  Quantity: 10  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **17** | Plastic Vacuum extractor (Manual)  Specifications: Complete with interior cups 40,50 & 60mm  • Bottom plates and one traction handles  386   * With all tubing and accessories   Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **18** | Pregnancy test kit  Specifications: HCG  Unit: box of 50 tests  Quantity: 30  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **19** | Pulse oximeter  Specifications: Display of oxygen saturation and pulse rate.  • Oxygen saturation measurement range from 0 -100%.  • Pulse strength perfusion indication  • Capability of Plethesomography.  • Pulse rate measurement from 20-250 bpm.  • Visual and audible indication of alarms.  • High and low alarms settings.  • Adult finger and pediatric sensor (reusable type)  **Power requirements:**  • Power of 220 V± 10%, 50 Hz.  • Built-in re-chargeable battery  Unit: pcs  Quantity: 8  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **20** | Radiant warmer  Specifications: Phoenix Infant Radiant warmer  Mobile freestanding fixed-height overhead radiant warmer  • Can be used in combination with a newborn and infant bed  • Sturdy and stable construction on 4 antistatic bal-bearing swivel castors, 2 with breaks  • Side handles facilitate positioning  • Hood integrates heating element and light  • Vertical column integrates controls and displays  • Overhead exanimation light: 2 x 40 W halogen spot, with dimming function  • Heating element: emitter with parabolic reflector protected by metal grid  • Preset skin temperature, range approx: 34 to 38 C, increments 0.1 C  • Temperature preset drives heater output in servo mode  • Easy switch between servo and manual mode  • Skin temperature monitoring via sensor, range: 30 to 42 C (sensitivity 0.2 C)  • Sensor thermistor based and factory calibrated  • Preset heater output: 0 to 100 %, in 10 % increments  • Integrated timer, preset: 1 to 59 min with up/down count feature, increments 1 min  • Auto-off at time elapse  • Audiovisual alarm on skin temperature (+/- 0.1 C of preset value) and time (elapse)  • Large LED display shows: Heater output preset in Watt  Mode (servo or manual)   Preset skin temperature   Actual skin temperature   Air temperature   Elapsed or remaining time  • Display reports system errors such: sensor malfunction, timer failure, low/high temperature  • Dimensions, approx: 0.90 x 0.80 x 1.90 m (l x w x h)  • Power requirement: 220 V / 50 Hz  • Power consumption, approx: 800 W  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **21** | Sterilizer  Specifications: Hot air sterilizer, with automatic sterilization process with timer.  **Technical Features**:  • Temp. range: 60 0C - 200 0C  • Operating time: state min.  • Sterilization at 180 0C for: instruments, syringes, etc.  • internal dimensions Approximate state  • external dimensions: state (w x d x h)  • approximately 40 liter  • With thermostat and ventilator  • Including instrument trays  • Power requirements: 220V/50Hz.  • Power consumption: state  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |
| **22** | Suction machine  Specifications: **suction machine, ELEC, 2 Bottle**  **General Description:**  Pump, suction, surgical, 2 bottles, with accessories  **Technical Specifications**:  • Electrical suction pump for use during surgical interventions  • With 2 graduated plastic jars autoclavable, each with a capacity of 2 L  • On 4 antistatic bal-bearing swivel castors, 2 with breaks  • Jars are covered and fitted with overflow valves and antibacterial filters  • Suction flow maximum, approx: 60 L/min  • Vacuum adjustable from 0 to approx: - 900 mmHg  • Control panel fit with analogue vacuum meter, vacuum control button and on/off-switch  258  • Foot switch activates actual suction  • Provided with handle for easy moving  • Rounded design and easy-to-clean casing  • Silent operation  • Power requirements: 220 V / 50 Hz  • Power consumption, approx: 500 W  **Supplied with parts:**  3 x Set of silicone tubes (diam: 8 x 14 mm– length approx: 2.5 m) and bi-conical connectors  1 x Spare jar of 2 L with cover, gasket and overflow valve  1 x Set of spare antibacterial filters  1 x Set of spare fuses  Supplied with clear instructions / diagrams for use and assembly in English language, and with a list of accessories / parts.  Unit: pcs  Quantity: 1  Expires Date: N/A  Delivery: CUAMM Addis Ababa | Specification offered:  Unit:  Expires Date:  Delivery time: (TO BE FILLED) |  |  |