***ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER**

**Contract title: Supply of Medical Drugs Consumables, and Equipment** **p 1 /…**

**Publication reference:**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

**LOT 1–Supply of Medical Drugs**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
|  | **Drug Name:** **Acyclovir - 400mg–tablet**  Specifications:  Unit: pk of 100 (10x10)  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Adrenaline (Epinephrine) - 0.1% in 1ml ampoule –Injection**  Specifications:  Unit: pk of 100 (10x10)  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Albendazole - 400mg – Tablet**  Specifications:  Unit: 10x5  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amitriptyline 25mg tablet**  Specifications:  Unit: pk of 100 (10x10)  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amlodipine 10mg tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxacillin 500mg capsule**  Specifications:  Unit: pk of 100 (10x10)  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxacillin 250mg capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxicillin - 125mg/5ml - Oral Suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxicillin - 250mg/5ml - Oral Suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxicillin + Clavulanic acid (500mg + 125mg) film coated Capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxicillin + Clavulanic acid (250mg + 125mg) film coated Capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **"Amoxicillin+Clavulanic Acid 312.5mg/5ml - Oral Suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxicillin + Clavulanic Acid - (125mg +31.25mg)/5ml - Oral Suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Amoxicillin + Clavulanic acid 228mg/5ml suspension-100ml**  Specifications:  Unit:bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ampicillin Sodium 500mg powder for injection**  Specifications:  Unit: pk of 50 Vials  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Anti-haemorrhoidal (Betamethasone Valer-ate + Phenylephrine HCl + Lidocaine HCl) -(0.5mg+1mg+25mg) – Ointment-20mg**  Specifications:  Unit: Tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Atropine Sulfate - 1mg/ml in 1ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Atorvastatin - 20mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Azithromycin 500mg tablet**  Specifications:  Unit: 3x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Azithromycin 250mg tablet**  Specifications:  Unit:6x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Azithromycin 200mg/5ml suspension -15ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Chloroamphenicol Eye drops 1%-10ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ceftriaxone 1gm injection IV/IM with diluent**  Specifications:  Unit: Vial  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ceftriaxone 500mg injection with diluent**  Specifications:  Unit:Vial  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ceftriaxone - 250mg in Vial - Powder for Injection with 1% Lidocaine Hydrochloride (Intramuscular)**  Specifications:  Unit: Vial  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Cephalexin 500mg capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Cephalexin - 250mg – Capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Chemical - Gentian Violet - 1% - Solution-500ml**  Specifications:  Unit: Liter  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Chlorpheniramine Maleate - 4mg - Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Chlorpheniramine Maleate - 2mg/5ml – Syrup-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ciprofloxacin 500mg tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ciprofloxacin 0.3% eye /ear drop-5ml**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Clotrimazole - 1% - Cream-20mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Cloxacillin Sodium 500mg powder for injection**  Specifications:  Unit: PK of 50 vials  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Cloxacillin 500mg capsule**  Specifications:  Unit:50x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Cloxacillin125mg/5ml suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Co-trimoxazole 480 mg - Tablet**  Specifications:  Unit:10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Co-trimoxazole 240 mg/5ml - Oral Suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Dexamethasone - 0.10% - Eye/Ear drop-10ml**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Dexamethasone 4mg/ml 1ml injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Dextromethorphan Hydro bromide - 15mg/5ml – Syrup-125ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Dextrose - 40% in 20ml - Intravenous Infusion**  Specifications:  Unit: PK of 50 vials  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Dextrose in Water - 5% - Intravenous Infusion with Giving Set-1000ml**  Specifications:  Unit: bag of 1000ml  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Diazepam - 10 mg/ml in 2ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Diclofenac Sodium - 50mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Diclofenac Sodium - 75mg/ml in 3ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Diphenhydramine Hydrochloride - 12.5mg/5ml – Elixir-125ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Doxycycline - 100mg – Capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Erythromycin Stearate - 500mg- Tablet**  Specifications:  Unit:50x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Erythromycin - 125 mg/5 ml - Oral Suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Erythromycin - 200 mg/5 ml - Oral Suspension-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ferrous Sulfate - 325mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ferrous Sulfate + Folic Acid - (150mg +0.5mg) - Tab- let( Enteric Coated)**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Fluconazole - 200mg– Capsule/Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Frusemide - 40mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Frusemide - 10mg/ml in 2ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Fusidic Acid - 2% - Topical Cream-10mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Gentamicin - 0.3% - Eye/Ear drop-10ml**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Gentamycin - 40mg/ml in 2ml - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Glibenclamide - 10mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Glucose 40%-10ml**  Specifications:  Unit: Pk of 20vials  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Haloperidol - 1.5mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Hepatitis B Vaccine 1ml injection-4ml**  Specifications:  Unit: Vial  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Heam up syrup-200ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Hydralazine - 20mg/ml in 1ml ampoule - Injection**  Specifications:  Unit: PKof 5 ampoules  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Hydrochlorothiazide - 25mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Hydrocortisone 5% cream**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Hyoscine (Scopolamine) Butyl bromide - 10mg - Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Hyoscine (Scopolamine) Butyl bromide - 20mg/ml in 1ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ibuprofen - 400mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ichthammol - 10% - Topical Ointment-20mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Indomethacin - 25mg – Capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Insulin Isophane Biphasic (Soluble/Isophane Mixture) - (30 + 70)IU/ml in 10ml Vial - Injection(Suspension)**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ketoconazole - 2% - Cream-20mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ketoconazole - 200mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Lidocaine HCL - 2% in 50/20ml – Injection**  Specifications:  Unit: pk of 25 vials  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Loratadine - 5mg/5ml – Syrup-100ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Mebendazole - 100mg – Tablet**  Specifications:  Unit: 4x6  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Mebendazole - 100mg/5ml - Oral Suspension-30ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Metformin - 500mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Metoclopramide - 2mg/ml in 2ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Metoclopramide - 5mg/ml in 2ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Metronidazole - 250mg – Capsule**  Specifications:  Unit: 50x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Metronidazole - 5mg/ml - Intravenous Infusion-100ml**  Specifications:  Unit: bag of 100ml  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Miconazole - 25mg/ml - Oral Gel-40mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Mometasone Furoate cream 0.1%-30mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Morphine Sulfate - 10mg/ml – Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Alumunium hydroxide + Magnesium hydroxide + Simeticone (225+200+50)mg in 5ml suspension -200ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Multivitamin - Syrup-120ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Multivitamin with Minerals - Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Nifedipine - 20mg- Capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Nitrofurazone -0.2% - soluble dressing- Ointment-30mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Norfloxacin - 400mg – capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Nystatin 100,000 IU oral drop**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Nystatin - 500,000 IU – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Omeprazole - 4mg/ml in 10ml – Injection**  Specifications:  Unit: vial  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Omeprazole - 20 mg - Capsule (Enclosing Enteric Coated Granules)**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Paracetamol - 500mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Paracetamol - 120mg/5ml – Syrup-60ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Paracetamol - 125mg - Suppository**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Penicillin G, Benzathine - 2.4MIU - Injection**  Specifications:  Unit: PK of 50 vials  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Phenobarbitone (Phenobarbital) - 100mg - Tablet**  Specifications:  Unit: 100x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Prednisolone - 5 mg – Tablet**  Specifications:  Unit: 100x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Prednisolone - 40 mg – Tablet**  Specifications:  Unit: 100x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Promethazine HCL - 25mg/ml in 2ml - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **ReSoMal - Oral Rehydration Solution-84gm**  Specifications:  Unit: Sacchet  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Ringer's Solution - Each contains Na+ 147mEq + K+4mEq Cl-155mEq - Intravenous Infusion with Giving Set-1000ml**  Specifications:  Unit: bag of 1000ml  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Risperidone - 1mg or 2mg – Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Snake Venom Antiserum Polyvalent – Injection-10ml**  Specifications:  Unit: bottle  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Sodium Chloride (Normal Saline) - 0.009 - Intrave- nous Infusion with Giving Set-1000ml**  Specifications:  Unit: bag of 1000ml  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Sodium Chloride (Normal Saline) - 0.009 - Intrave- nous Infusion with Giving Set-500ml**  Specifications:  Unit: bag of 500ml  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Tetracycline - 1% - Eye Ointment-4gm**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Tetracycline - 3% - Skin Ointment-15mg**  Specifications:  Unit: tube  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Tetanus Antitoxin (TAT), Equine - 1,500 IU/ml in 1ml Ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Tetanus Antitoxin (TAT), Equine - 3000 IU/ml in 1ml Ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Tramadol HCl - 50mg – Capsule**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Tramadol HCl - 75mg/ml in 2ml ampoule - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Vitamin B Complex Preparations - Injection**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Vitamin B Complex Preparations - Tablet**  Specifications:  Unit: 10x10  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Water For Injection -5ml– Injection**  Specifications:  Unit: pk of 100 tubes  Quantity: 1  Expires Date: 12 months or longer  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Drug Name:** **Water For Injection - 10ml– Injection**  Specifications:  Unit: pk of 100 tubes |  |  |  |

**LOT 2–Supply of Medical supply**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| 1 | **Consumable name:** Adhesive Plaster Zinc Oxide - 7.5cmx10m  **Specification**:  Unit: roll  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 2 | **Consumable name:** Alchool gel/Hand sanitizer-500ml  **Specification**:  Unit: bottle  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 3 | **Consumable name:** Cannula Intravenous Set - 18G  **Specification**:  Unit: box of 100  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 4 | **Consumable name:** Cannula Intravenous Set - 20G  **Specification**:  Unit: box of 100  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 5 | **Consumable name:** Cannula Intravenous Set - 22G  **Specification**:  Unit: box of 100  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 6 | **Consumable name:** **Cannula Intravenous Set - 24G**  **Specification**:  Unit: box of 100pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 7 | **Consumable name:** **Catheter Foley siliconized latex sterile three ways, 30-50 ml Balloon 16 CH**  **Specification**:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
|  | **Consumable name:** **Catheter Foley siliconized latex sterile three ways, 30-50 ml Balloon 18 CH**  **Specification**:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 8 | **Consumable name:** **Cat Gut -(3/0) Reverse Cutting Needle or Round Bodied Needle**  **Specification**:  Unit: Dozen  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 9 | **Consumable name:** **Cat Gut -(2/0) Reverse Cutting Needle or Round Bodied Needle**  **Specification**:  Unit: Dozen  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 10 | **Consumable name:** **Face Mask Adult - Adult Standard Size**  **Specification**:  Unit: PK of 50pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 11 | **Consumable name:** **Glove Examination Latex Non Powdered - Medium**  **Specification**:  Unit: 50 pairs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 12 | **Consumable name:** **Cotton Absorbant Wool - 100gm**  **Specification**:  Unit: Roll  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 13 | **Consumable name:** **Gauze non sterile Surgical -90cmx100m mesh size 19x15cm**  **Specification**:  Unit: Roll  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 14 | **Consumable name:** **Glove Surgical Latex Powder -Free Sterile -No.7**  **Specification**:  Unit: 50 pairs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 15 | **Consumable name:** **Glove Surgical Latex Powder -Free Sterile -No.7.5**  **Specification**:  Unit: 50 pairs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 16 | **Consumable name:** **Naso Gastric Tube Sterile Infant - 6CH**  **Specification**:  Unit: each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 17 | **Consumable name:** **Naso Gastric Tube Sterile Infant - 8CH**  **Specification**:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 18 | **Consumable name:** **Naso Gastric Tube Sterile Infant - 12CH**  **Specification**:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 19 | **Consumable name:** **Silk Surgical Suture 2/0**  **Specification**:  Unit: Dozen  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 20 | **Consumable name:** **Silk Surgical Suture 3/0**  **Specification**:  Unit: Dozen  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 21 | **Consumable name:** **Surgical blade no 22**  **Specification**:  Unit: PK of 12  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 22 | **Consumable name:** **Syringe (Disposable) - 10ml with needle 21G**  **Specification**:  Unit: box of 100pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 23 | **Consumable name:** **Syringe (Disposable) - 5ml with needle 21G**  **Specification**:  Unit: box of 100pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 24 | **Consumable name:** **Syringe (Disposable) - 3ml with needle 21G**  **Specification**:  Unit: box of 100pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 25 | **Consumable name:** **Syringe for Feeding - 60 ml**  **Specification**:  Unit: box of 100  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 26 | **Consumable name:** **Tourniquet of Double Belt-Description: PTS ii Portable Tourniquet Twin System**  **Specification**:  Unit: each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 27 | **Consumable name: Applicator Stick Wooden with Cotton Tip - 15cmx2.2mm**  **Specification:**  **Unit: box of 100 pcs**  **Quantity:1**  **Expires Date: More than one year**  **Delivery: CUAMM Addis Ababa** |  |  |  |
| 28 | **Consumable name: Chemical - Alcohol 70% solution, -1000ml**  **Specification:**  **Unit: Liter**  **Quantity:1**  **Expires Date: More than one year**  **Delivery: CUAMM Addis Ababa** |  |  |  |
| 29 | **Consumable name: Chemical - Immersion Oil - Refractive Index of 1.515-100ml**  **Specification:**  **Unit: bottle**  **Quantity:1**  **Expires Date: More than one year**  **Delivery: CUAMM Addis Ababa** |  |  |  |
| 30 | **Consumable name: Serology - Pregnancy Test Strip/ box of 25pcs**  Specification:  Unit: PK of 25 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 31 | **Consumable name: Serology - HIV/Syphilis Combo Rapid Test/Kit**  Specification:  Unit: PK of 25 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 32 | **Consumable name: Serology – RPR- syphilis Rapid Test/Kit**  Specification:  Unit: PK of 25 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 33 | **Consumable name: Micropipette tips 10-200 µl**  Specification:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 34 | **Consumable name: Microscope slides size 27x75 mm thickness 1.2mm Frosted**  Specification:  Unit: PK of 50 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 35 | **Consumable name: Microscope Lens Paper-sheets measuring around 4" x 6" (100mm x 150mm)**  Specification:  Unit: PK of 500 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 36 | **Consumable name: Microscope Lens Cleaning Solution-30ml**  Specification:  Unit: bottle  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 37 | **Consumable name: Mindray BC\_10 M\_30 D Diluent-20liter**  Specification:  Unit: bag of 20liter  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 38 | **Consumable name:Mindray Hematology Analyzer Thermal Paper**  Specification:  Unit: pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 39 | **Consumable name: Serology – Contact activated blood lancet (automatic) with 21 G needle 1.8mm depth**  Specification:  Unit: PKof 100 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 40 | **Consumable name: Serology – EDTA Hematocrit capillary tube length 75mm ID 1.1-1.2mm OD 1.5-1.6mm, 50µ**  Specification:  Unit: pk of 50pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 41 | **Consumable name: graduated Measuring cylinder 100ml**  Specification:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 42 | **Consumable name: Pasteur pipette (plastic) non-sterile 5ml**  Specification:  Unit: PK of 50pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 43 | **Consumable name: Plastic Conical test tube graduated 15 ml**  Specification:  Unit: PK of 100pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 44 | **Consumable name: Serology - Hepatitis BsAg Test Cassette**  Specification:  Unit: pk of 25pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 45 | **Consumable name: Slide staining rack**  Specification:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 46 | **Consumable name:** **Staining Jar**  Specification:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 47 | **Consumable name: Test Tube Rack**  Specification:  Unit: Each  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 48 | **Consumable name: Cover slide-24x24mm- 0.13mm to 0.17mm thick**  Specification:  Unit: pk of 100 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 49 | **Consumable name: – EDTA-5-7ml**  Specification:  Unit: pk of 100 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |
| 50 | **Consumable name: Microcuvettes for HemoCue Hb 301**  Specification:  Unit: pk of 25 pcs  Quantity:1  Expires Date: More than one year  Delivery: CUAMM Addis Ababa |  |  |  |

**LOT 3 –Supply of Medical Equipment**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered**  **TO BE FILLED BY THE SUPPLIER** | **4.**  **Notes, remarks, ref. to documentation** | **5.**  **Evaluation committee’s notes** |
| 1 | **Equipmenet name:** **CBC Machine-Hematology Analizer**  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * **Principles** : Impedance method for WBC, RBC and PLT counting Cyanide free reagent for hemoglobin test. * **Parameters**: 20 parameters: WBC, Lymph#, Mid#, Gran#, Lymph%, Mid%, Gran%, RBC, HGB, HCT, MCV, MCH, MCHC, RDW-CV, RDW-SD, PLT, MPV, PDW, PCT, P-LCR * 3 histograms for WBC, RBC and PLT * 2 research parameters: NLR, PLR * **Sample Volume:** * Prediluted mode ≤20μL * Whole blood mode ≤9 μL |  |  |  |
| 2 | **Equipmenet name:** **Multi-functioning Delivery Coach**  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * **Bed, labour and delivery, 2 sections**. * • All sections fit with padded mattress, detachable from bed for easy cleaning. * • Mattress covers removable via side zipper.   **Body section:**   * • Mounted on 4 sturdy supports, finished with rubber feet. * Knee crutch holders welded to the frame of the bed. * Crutches are height and width adjustable, set with sturdy clamps with heavy knob.   **Leg section**   * Mounted on swivel castors, of which two with brakes. * This section recesses entirely under body section. * When fully extended, both sections align to perfectly flat surface.   **Materials:**   * High resistance to corrosion (tropical environment). * Frame: epoxy coated tubular steel. * Sliders/fixtures for the knee crutches: tubular steel, welded to the bed frame. * Recession tracks smoothly finished for easy sliding. * Mattress: high-density polyurethane foam, density approx. 30 kg/m3. * **Cover**: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid * proof, washable.   **Dimensions:**   * Body section: approx. 1000 x 900 x 750 mm (l x w x h). * Leg section: approx. 900 x 850 x 750 mm (l x w x h). * Frame, diameter: approx. 40 mm. * Swivel castors, diameter: approx. 120mm. * Mattress: approx. 100 mm (h) * Carrying capacity: approx. 150kg. * Supplied with: * 1 x set of tools required for assembly. * 2 x leg holders with canvas straps, adjustable height and width. * 2 x knee crutches, adjustable height and width. * 1 x set fitting mattresses, body and leg section. * List of parts. * Detailed step-by-step line drawing based instructions for assembly and safe use. |  |  |  |
| 3 | **Equipmenet name:** Delivery set  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * with instruments (2 stainless steel kidney dishes, 25 cm * 1 st.st. Triangular dish (placenta dish) * 1 st.st. Bowl, 6" * 1 Mayo scissors, straight, 15 cm * 2 Spencer Well's artery forceps, straight, 20 cm * 1 Sponge holder, 25 cm * 1 Cord scissors * 1 Episiotomy scissors * 2 Female catheter )(periority) |  |  |  |
| 4 | **Equipmenet name:** Blood Pressure Measurement manual  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * -Upper Arm Manual Blood Pressure Cuff 8.7 – 16.5” – Stethoscope |  |  |  |
| 5 | **Equipmenet name:** Stethoscope-Adult  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**  Stethoscope has stainless steel, or chromed brass, double-bell chest piece (dual-use adult and paediatric auscultation).  • Adult diaphragm: approx 43 mm.  • Sensitivity, 50 to 500 Hz: 3.2 dB (cardiology).  • Sensitivity, 600 to 1500 Hz: 8.1 dB (pneumology).  • Single tube in treated rubber, lumen diameter: approx 10 mm.  • Y-part is reinforced with stainless steel spring attached to the rigid ear tubes.  • Spring is treated to give long lasting rebound and comfort.  • Ear tubes are made of stainless steel or chromed brass.  • Ear-pieces are made of plastic and are removable.  • Total length, approx 70 cm.  **Supplied with:**  • 1 x spare diaphragm  • 1 x spare pair of ear-pieces |  |  |  |
| 6 | **Equipmenet name:** Stethoscope-Peadiatric  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**  - -Stethoscope has stainless steel, or chromed brass, double-bell chest piece (dual-use adult and paediatric auscultation).  • Pediatric diaphragm: approx 28 mm.  • Sensitivity, 50 to 500 Hz: 3.2 dB (cardiology).  • Sensitivity, 600 to 1500 Hz: 8.1 dB (pneumology).  • Single tube in treated rubber, lumen diameter: approx 10 mm.  • Y-part is reinforced with stainless steel spring attached to the rigid ear tubes.  • Spring is treated to give long lasting rebound and comfort.  • Ear tubes are made of stainless steel or chromed brass.  • Ear-pieces are made of plastic and are removable.  • Total length, approx 70 cm.  Supplied with:  • 1 x spare diaphragm  • 1 x spare pair of ear-pieces |  |  |  |
| 7 | **Equipmenet name:** Digital Baby Scale  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * Capacity: 0 – 20kg * Accuracy: 5g * Display: Large LCD screen with easy readability * Power Source: Battery-powered (customizable options) * Baby-Friendly Design: Smooth cradle surface for infant comfort * Material: High-grade ABS plastic * Function: Automatic weighing and zero-tracking |  |  |  |
| 8 | **Equipmenet name:** • Ear and nose foreign body removal set  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**  **General: Ear- foreign body removal set**   * Technical Specifications * Instrument tray, wire mesh, 24 x 24 x 5 cm, S/S 1 * Ear syringe, metal, 100 ml, complete with 2 * nozzles and plate 1 * Forceps, ear dressing, Troeltsch, 12 cm 1 * Forceps, polypus, Littauer, 12 cm 1 * Hartmann ear specula, set of 4, * 4.5, 5.5, 6.5 and 7.5 mm dia. 1 * Ear hook, Lucae, 14 cm 1 * Ear hook, Lucae, 14 cm 1 * Ear curette, Buck, sharp, 1 * Ear curette, Buck, sharp, 1 * Quire foreign body lever 1      * **Nasal- foreign body removal set** * Instrument tray, wire mesh, 24 x 24 x 5 cm, S/S 1 * Thudichum nasal specula 1 * Thudichum nasal specula 1 * Thudichum nasal specula 1 * Thudichum nasal specula 1 * Troeltsch nasal tampon forceps 15 cm 1 * Ear hook, Lucae, 14 cm 1 * Suction nozzle, Fergusson, 8 Fr, 17 cm 1 |  |  |  |
| 9 | **Equipmenet name:** Examination bed  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * Mounted on 4 sturdy supports, finished with rubber feet, of which one height adjustable. * Both sections fit with thick upholstery. * Backrest adjustable via secured pawl and gear ratchet, safe for patient and operator. * When fully extended, both sections align to perfectly flat surface. * **Materials:** * High resistance to corrosion (tropical environment). * Frame: epoxy coated tubular steel. * Upholstery: high-density polyurethane foam, density approx. 30 kg/m3. * Cover: plastic, flexible highly tear resistant, anti-static, flame retardant, disinfectant- and liquid * proof, washable. * **Dimensions:** * • All sections extended: approx. 1800 x 550 x 750 mm (l x w x h). * Frame, diameter: approx. 30 mm. * Upholstery: approx. 50 mm (h) * Carrying capacity: approx. 150kg. * Standard examination table for health care facilities. Must be cleaned after each use. |  |  |  |
| 10 | **Equipmenet name:** Fetoscope wooden  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**  **General Description: Stethoscope foetal Pinard**.   * Technical Specifications: * Foetal heart stethoscope, Monaural. * Made of unbreakable wood. * Earpiece, diameter approx 5 cm. * Length, approx 15 cm. |  |  |  |
| 11 | **Equipmenet name:** Minor Basic General Surgery Set  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * 1 Crile Forceps Straight 14cm * 1 Crile Forceps Curved 14cm * 1 Thumb Forceps With Teeth 14cm * 1 Thumb Forceps Without Teeth 14cm * 1 Mosquito Forceps Straight 12.5cm * 1 Mosquito Forceps Curved 12.5cm * 1 Mayo Scissors Straight 14cm * 1 Mayo Scissors Curved 14cm * 1 Stitch Scissors 14cm * 1 Butterfly * 1 Scalpel Handle 4 * 1 Needle Holder 14cm * 1 Instruments Box. 17x7x3 Cm |  |  |  |
| 12 | **Equipmenet name:** MUAC tape (adult)  **Unit**: pk of 50 pcs  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * Suitable for measuring adult's Middle Upper Arm Circumference (MUAC, range to 56 cm). * Graduated with 1 mm precision * Accuracy: ± 1 mm of the maximum measurement (50 cm) |  |  |  |
| 13 | **Equipmenet name:** Lenght/hight board  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * Portable baby/child/adult length-height measuring board. * To measure length (horizontal position): Immovable headpiece at a right angle to the tape and moveable footpiece perpendicular to the tape. * To meassure height (vertical position): Immoveable footpiece at a right angle to the tape and a movable headpiece perpendicular to the tape. * Designed for heavy duty use in demanding circumstances. * Firm, flat surface, fold-up mechanism and low weight make it compact and easy to transport. * Panels are secured with spring loaded bolts. * Carrying when collapsed is facilitated by an integrated handle and removable shoulder/back strap/s. Fixations of the shoulder/back strap/s on the board do not hamper horizontal set-up from lying flat. Simple and fast set up, no tools (screwdriver, etc.) required. * ***Unit of measure***: centimetres. * Measurement range with one extension only: 0 to 142 cm. * Full measurement range with two extensions: 0 to 210 cm. * Accuracy: ± 0.2 cm * Precision: ± 02 cm. * Smallest graduation: 0.1 cm with a longer line indicating the 5 mm midpoint. * Long-lasting hard-wearing measurement tape is fully integrated with the device and is easy to read in low light conditions. * No need for calibration, as all parts has prefixed position. * Orientation of numerals on the measurement tape: parallel to the board, facilitating quick and easy reading of results. * Smoothly gliding measuring slide/wedge, lockable. * Measuring slide/wedge wobbles max. about 0.1 cm over full length, allowing repeated accurate reading. * Exact points where to read are clearly marked with pictogram or arrow on the measuring slide/wedge. * Adjustable feet for stability on uneven floors. * Parts are not loose or shaking during transportation. * No sharp edges or corners. * No drawings/images on the board i.e. of animals etc. * **Material:** * Durable, resistant to effects of excessive humidity and high temperature, water splash proof and shock resistant. * Lightweight. A single adult should be able to carry the measuring board over a long distance (walking for up to an hour). * Boards: wood. * Measurement tape is made of metal. * Smooth and easy to clean using a damp cloth and non-toxic disinfectant. * **Dimensions:** * Width of the board: 25 cm * Dimensions when collapsed: 34 x 31.7 x 84 cm * Weight: 6.2 kg * **Supplied with:** * Removable and adjustable shoulder straps. * Instructions for assembly, use, and cleaning in English, French and Spanish; appropriately illustrated with pictograms. * Pictograms are integrated on on the back of the boards. * Warranty: 2 yearsAccuracy: ± 1 mm of the maximum measurement (50 cm) |  |  |  |
| 14 | **Equipmenet name:** Otoscope handheld set  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * Diagnostic set comprises ophthalmoscope, otoscope/throat illuminator and rechargeable handle as well * as nasal illuminator and a range of specula and mirrors to aid the examination. * Ophthalmoscope (-30 up to + 40 D) * High intensity halogen illumination * 28 lenses with illuminated lens dial * Apertures for all diagnostic applications * Microspot * Small spot * Large spot * Fixation * Red-free * Slit * Otoscope   High intensity halogen illumination with true tissue colour   * Wide angle viewing lens * Sealed system to allow pneumatic otoscopy * Supplied with a range of specula (2,3,4,5 mm) * Otoscope can be used for throat illumination * Tongue depressor * Straight laryngeal mirror * Nasal illuminator with speculum * Rechargeable instrument handle * Handle provides 3.5 V output to illuminators. * Rheostat control of lighting intensity. * Battery: rechargeable nickel-cadmium. * Durable and strong construction. * Supplied with a mains charger unit. * **Typical dimensions** : (W x D x H) m : 0.15 x 0.15 x 0.04 * Typical Weight : 0.30 kg * Charger power requirements: 100/240 V, 50/60Hz |  |  |  |
| 15 | **Equipmenet name:** Oxygen Concentrator, Portable  **Spcification:**  Unit: each  Quantity**:** 1  Delivery: CUAMM Addis Ababa  **Technical Specifications:**   * Many portable oxygen concentrators are rechargeable and support 220V AC * Device concentrates oxygen from ambient air. * Integrated Oxygen Sensing Device (OSD) measures concentration at flow meter entrance. * Output flow: max 5 LPM (Litre Per Minute) * Flow meter range: 1 to 5 LPM * Output pressure: 60 kPa. * Oxygen concentration: 95% ±3% at 1-3 LPM, 92% ±3% at 4 LPM, 90% ±3% at 5 LPM. 459 * Time to reach 95% the specified performance: 5 minutes. * Four-step filtering (coarse, pre, inlet and bacterial) of air-intake. * All filters replaceable, coarse filter washable/reusable. * Continuous monitoring, with visual and audible alert on: Low and high output pressure and Low oxygen concentration * Oxygen monitor: amber light on the front illuminates when oxygen concentrator is below 85%. If concentration remains below 85% for more than 15 minutes, an audible alarm sounds. Power failure and Battery test * Key features to consider: * Battery-powered & rechargeable\*\* (lithium-ion batteries) * 220V AC adapter\*\* (or universal voltage 100-240V) * Lightweight & portable\*\* (for travel) * Pulse-dose or continuous flow\*\* (depending on medical need) * FAA-approved\*\* (if needed for air travel) * Battery life 10 hours * Confirm Spare Parts Availability such as: * Batteries(extra/replacement) * Filters (bacterial, intake) * Tubing & cannulas * AC/DC power adapters (220V compatible) * Wheels/carry bags (for mobility) * Warranty & service centers * The supplier must be provide minimum of two years warranty including labor and spare part from the date of commissioning. * User and service manual in English   Utility Requirements: ower supply: 220 – 240 VAC, 50Hz |  |  |  |
| 16 | **Equipmenet name:** Oxygen Cylinder 11-liter  **Spcification:**  Unit: each  Quantity**:** 1  Delivery: CUAMM Addis Ababa  **Technical Specifications:**   * Cylinder O2 size 240cft * Bull nose valve * Color-coded * A bull nose spanner shall be supplied with the cylinder. * Duly tested by renowned/ authorized company. * Complete with trolley and cylinder holding bracket/ chain. * The cylinder holder must be designed so that the cylinder should not vibrate during movement. * BSS specifications and coloring standard * Capacity: 11 liters (or 11.09 cubic meters when full) * Pressure: 230 bar (or 200 bar depending on the specific cylinder) * Material: Steel or aluminum * Dimensions:   + Height: Approximately 1460 mm (57.5 inches)   + Diameter: Approximately 230 mm (9 inches) * Valve Type: BS 341 no.3 (5/8" BSP female right hand cone recessed at 230 bar) * Weight: Varies depending on the material and construction, but typically around 15 kg (33 lbs) |  |  |  |
| 17 | **Equipmenet name:** Portable examination bed  **Spcification:**  Unit: each  Quantity**:** 1  Delivery: CUAMM Addis Ababa  **Technical Specifications:**   * Examination Table / Couch, 2 sections. * Size: 1900 × 620 × 700 mm. Back section: 695 × 620 mm * Back rest adjustable by double ratchet. * Framework made of Stainless Steel. * Mounted on protective Stumps. * Freight saving knock-down construction. |  |  |  |
| 18 | **Equipmenet name:** Screen patient /bed  **Spcification:**  Unit: each  Quantity**:** 1  Delivery: CUAMM Addis Ababa  **Technical Specifications:**   * Mobile three section bed screen * Comprising a metal tube frames mounted on 4 casters. * Casters positioned in a broad stance for stability of the frame. * Frame suspends a curtain material for privacy. * Each side of the frame has a hinged section that can be angled for privacy. * Frame of round nameled coated steel * Curtains of white plastic material * Dimensions (w x d x h), ≥ (2.10 x 0.05 x 1.70) * Material: Frame: anti-corrosive and epoxy coated steel. |  |  |  |
| 19 | **Equipmenet name:** IV Stand  **Spcification:**  Unit: each  Quantity**:** 1  Delivery: CUAMM Addis Ababa  **Technical Specifications:**   * **Dimensions:** Stand height Minimum: - 1200 and maximum 2025mm. * **Adjustment:** Manually adjusted height through side knob      * **Finishing:** Pre treated and epoxy powders coated finishing      * **Packing Detail:** Stand is packed in heavy duty pallet boxes.   **Other features**   * Load bearing capacity up to 2 kg each hook. * Easy to moveable |  |  |  |
| 20 | **Equipmenet name:** Autoclave, steam, bench top, 20L, electrical digital (Steam steraliser mechine)  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specification**   * Capacity: 20 liters * Type: Bench top (tabletop) autoclave * Power Supply: 220–240V, 50Hz (Ethiopia standard) * Heating System: Electric heating element (stainless steel) * Control System: Digital microprocessor control * Pressure Range: 0–22 psi (or up to 2.2 bar) * Temperature Range: 105°C – 135°C (221°F – 275°F) * Sterilization Time: Adjustable (typically 20–60 minutes) * Chamber Material: High-grade stainless steel (304 or 316) * Safety Features:   + Automatic shut-off   + Over-temperature & over-pressure protection   + Safety valve & pressure release   + Door locking mechanism * Display: Digital LED/LCD screen (shows time, temp, pressure) * Programs: Pre-set sterilization programs (e.g., for liquids, solids, waste) * Dimensions (approx.): ~40 cm (W) × 50 cm (D) × 35 cm (H) * Weight: ~25–35 kg |  |  |  |
| 21 | * **Equipmenet name:** foot Stool two steps Technical Specifications:     **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specifications**   * Sturdy 2 step footstool. * Mounted on robust supporting legs spaciously arranged for optimal stability. * Both steps and feet, fit with anti-slip. * **Materials:** * High resistance to corrosion (tropical environment). * Frame: epoxy coated steel. * Steps and feet: heavy duty solid rubber. * **Dimensions:** * Overall: approx. 450 x 250 x 400 mm (l x w x h). * Frame, diameter: approx. 30 mm. * Carrying capacity: approx. 100 kg. * Foot stool to assist patients ascending and descending examination/delivery table and beds in health care facilities. |  |  |  |
| 22 | **Equipmenet name:** **Digital Thermometer**  **Unit**: each  **Quantity:** 1  **Delivery**: CUAMM Addis Ababa  **Technical Specifications**   * Measure Range: 32.0°C to 42.9°C * Operating mode: Direct Mode * Display: Liquid crystal display, 3 1/2 digits * Memory: For storing the last measured value * Battery: 3V DC (1.5V LR41) x 2 * Battery life: Approx. 200hours of continuous operation or 1 year with 3 measurements per day * Service and user manuals in English should be avail * Device catalogue is mandatory |  |  |  |
| 23 | **Equipmenet name:** Weight scale, Infant, digital max 10 kg  **Unit**: each  **Quantity:** 8  **Delivery**: CUAMM Addis Ababa  **Specification**  1 Requirements:   * Table top, light and portable. * Should be Electronic weighing scale * Capacity 0 to 10kg * Minimum graduation 5g * Built in rechargeable battery lasts for 24 hrs. * Hygienic, easy to clean baby tray. * Acrylic (non-metallic) baby tray. * Freeze reading display. * Easily calibrated * Zero weight adjustment facility or reset-to-zero capability * Quick, clear digital read outs. * Measurement does not change with position of baby on the pan. * Operating and detailed service manual which includes electrical diagrams should be supplied. * Device catalogue must be given |  |  |  |
| 24 | * **Equipmenet name:** Centrifuge, Hematocrit   Unit: each  Quantity**:**1  Delivery: CUAMM Addis Ababa  **Specification**   * High performance centrifuge designed for precise determination of haematocrit values   Maximum speed around 12000 rpm  **To be supplied with**:   * haematocrit rotor for tubes * **Technical features**: * around 15 minute timer * automatic brake and lid interlock with reader * 200 capillaries (heparinized) and sealing material * power requirements: 220 V/50 Hz * 03.08.08 Shaker |  |  |  | |
| 25 | * **Equipmenet name:** HAEMOGLOBIN PHOTOMETER (HemoCue Hb 301)   Unit: each  Quantity**:**1  Delivery: CUAMM Addis Ababa  **Specification**  The analyzer uses 2 wavelengths, 506 nm and 880 nm, for compensation of turbidity.  **Sample**: 10 µl of capillary or venous blood‌ with EDTA tube  Factory-calibrated: in g/dl  **Measuring range:**   * 0-25.6 g/dl * 0-256 g/l * 0-15.9 mmol/l   Display of the results after ± 10 seconds  Internal electronic "Selftest" for the optronic unit  **Operating temperature**: 10 - 40ºC  **Battery operated**: 4 x 1.5 V batteries AC/DC adaptor to be mains-operated  **Dimensions**  Dimensions: 160 x 140 x 70 mm |  |  |  | |
| 26 | * **Equipmenet name:** Hematocrit Seant   Unit: each  Quantity**:**1  Delivery: CUAMM Addis Ababa  **Specification**  **Timer Setting**: Allows users to control the centrifugation time, typically up to 12 minutes.  **Weight**: Typically around 4.3 kg (with rotor).  Dimensions: Typically 330 x 265 x 161 mm (WxDxH).  **Whisper Quiet Operation**: Some models are designed for quiet operation.  **Six-Place Rotor**: Allows for processing multiple samples simultaneously.  **Built-in Tachometer**: Provides real-time speed measurement.  **Specifics of a Microhematocrit Seant:**  **RCF (Relative Centrifugal Force):** Typically between 1,548 and 2,312 RCF.  **Compact Size**: Some models are designed to be compact and lightweight, such as 127 (h) x 177 (w) x 279 (d) mm / 5”(h) x 7”(w) x 11”(d).  **Lightweight**: Some models weigh around 907 g / 2 lbs. |  |  |  | |
| 27 | * **Equipmenet name:** Hemocytometer   Unit: each  Quantity**:**1  Delivery: CUAMM Addis Ababa  **Specification**  **Technical Specifications:**   * **Grid Pattern**: The standard Neubauer Improved grid consists of 9 large squares, each 1 mm x 1 mm. * **Chamber Depth**: The depth of the chamber is 0.1 mm. * **Volume per Square**: Each square has a volume of 0.1 mm² or 10^-4 cm³. * **Material**: The hemocytometer is typically made of a thick glass slide. * **Dimensions**: The overall size of the chamber is approximately 30 x 70 mm with a thickness of 4 mm. * **Central Square**: The central square (1 mm x 1 mm) is divided into 25 smaller squares (0.2 mm x 0.2 mm). * **Smaller Squares**: Each smaller square is further divided into 16 even smaller squares. * **Counting Areas**: The four corner squares are used for white blood cell counting, while the central square is used for red blood cell and platelet counting. * **Accessories**: Some hemocytometers come with a cover glass for use with the chamber. |  |  |  | |